## Sheet1
County Name | PSC Number | School Name | Project Type | Description/Justification | State HSFF $ Requested | Eligible Design Expense | FY23 HSFF Total New Authorization (including design) | FY23 HSFF Total Federal Funding (including design) | Revised
Anne Arundel | 02.120 | Woodside Elementary | Roof | Replacement of existing roof with a BUR roof. | 1225000 | 110000 | 1210000 | 0
Baltimore | 03.032 | Randallstown High | Lack of, unreliable, or insufficient air-conditioning | Water cooled chiller and cooling tower to ensure proper indoor air quality; providing continued air conditioning (and dehumidification to incoming ventilation outside air)to allow a healthy environment. | 1392325 | 126575 | 0 | 1392325
Baltimore | 03.041 | Dundalk Middle | Lack of, unreliable, or insufficient air-conditioning | Chiller replacement to ensure proper indoor air quality; providing continued air conditioning (and dehumidification to incoming ventilation outside air) to allow a healthy environment. | 1281000 | 117425 | 0 | 1291675
Baltimore | 03.050 | Woodlawn High | Lack of, unreliable, or insufficient air-conditioning | Chiller replacement to ensure proper indoor air quality; providing continued air conditioning (and dehumidification to incoming ventilation outside air) to allow a healthy environment. | 557300 | 51850 | 0 | 570350
Baltimore | 03.070 | Owings Mills High | Lack of, unreliable, or insufficient air-conditioning | Equipment replacement for critical building equipment which affects both the heating and cooling plants. Any failure of these units will result in a building shutdown. With extensive lead times it is critical to schedule replacement of this equipment. | 1392750 | 126575 | 31614.97 | 907192
Calvert | 04.005 | Northern High - Mary Harrison Cultural Arts Center | Roof | The scope of work will include removal and replacement of the existing 33,000 SF roof with a minimum R-value (30) Cold Applied SBS modified roofing system. All internal drains, coping, and fascia systems will be replaced and all rooftop equipment height will be modified to accommodate required flashing heights. | 924000 | 84000 | 924000 | 0
Carroll | 06.028 | North Carroll Middle | Roof | Replacement of 94,319 square feet of roofing, associated tapered insulation system, and roof drains and flashings. The 68,049 square feet of shingle roofing is to be replaced with standing seam metal roofing. The remaining 26,270 square feet of low slope roof will be replaced with a built-up roof. | 1901620 | 121000 | 1901620 | 0 | 4/11/2024 IAC Meeting - Awarded additional $211,996 from FY 2024
Carroll | 06.043 | Oklahoma Road Middle | Lack of, unreliable, or insufficient air-conditioning | This project involves the replacement of the existing rooftop air handling units and terminal control units. The project will also include replacement of both the heating and cooling plants and associated piping and pumps located in the mechanical room. | 5469000 | 497134 | 0 | 5468000 | 4/11/2024 IAC Meeting - Awarded additional $1,435,000 from FY 2024
Cecil | 07.042 | Cecil County School of Technology | Lack of, unreliable, or insufficient air-conditioning | Install 2 new air cooled chillers to replace existing failing system. | 1122000 | 0 | 0 | 1068259
Charles | 08.005 | General Smallwood Middle - Roof / AC | Roof | With this project we wish to improve the building envelope to improve efficency of HVAC system | 2674000 | 243100 | 2674000 | 0
Charles | 08.032 | Mary H. Matula Elementary | Roof | Full roof replacement to increase insulation value and to allow the HVAC system to be more efficient | 2002500 | 150000 | 2002500 | 0
Garrett | 11.005 | Southern Garrett High | Lack of, unreliable, or insufficient air-conditioning | Removal of existing RTU's,H&V's, Uni-Ventilators. Replacement of existing HVAC equipment to provide HVAC and dehumidification for approximately 50 classrooms, various shops, Cafeteria, Locker rooms and Auxiliary Gymnasium. Removal of existing domestic water heater storage tank, replace with appropriate sized tanks and additional water heaters for redundancy. Removal of existing pneumatic controls and air compressor. Replacement of existing pneumatic controls with DDC controls and incorporate into a new BAS system. | 8395199 | 763200 | 0 | 8395199
Harford | 12.036 | Hall's Cross Roads Elementary School | Lack of, unreliable, or insufficient air-conditioning | The funds will be used at Hall’s Cross Road Elementary School to replace the twenty- nine (29) year old failing water-cooled chiller with a new energy efficient air-cooled chiller. The project will replace the existing 150-ton water cooled chiller, cooling tower, related pumps and piping accessories and upgrading the automatic controls. | 641100 | 30000 | 0 | 641100
Prince George's | 16.049 | Lewisdale Elementary | Roof | Detailed scope is attached as PDF. | 2015850 | 163607.47 | 2015849.73 | 0
Prince George's | 16.128 | John Hanson Montessori | Roof | Detailed scope is attached as PDF. | 3111167 | 252504 | 3111166.71 | 0
Prince George's | 16.147 | Columbia Park Elementary | Roof | Detailed scope is attached as PDF. | 1825715 | 148176 | 1825715 | 0
Prince George's | 16.161 | William Paca Elementary | Roof | Detailed scope is attached as PDF. | 2379949 | 193158 | 2379949.39 | 0
Somerset | 19.007 | Deal Island Elementary | Immediate Life, Safety, or Health Environmental Risk | Replace gymnatorium vct tile. Tile is crumbling and loose presenting asbestos bearing mastic. Abate asbestos bearing material by removal. Replace vct with a lvt flooring. Floor area will be certified asbestos free prior to tile installation. | 9175 | 0 | 9175 | 0
Somerset | 19.01 | Princess Anne Elementary | Immediate Life, Safety, or Health Environmental Risk | Demo existing floor in 4 classrooms and shared hallway. This will remove damaged and mold laden building materials. Existing floor is collapsing in some spots. Remove all flooring and all damaged subfloor. Install new subfloor and moisture barrier. Install lvp flooring. Crawlspace encapsulation has already taken place with mechanical dehumidification. | 36409.2 | 0 | 36409.2 | 0
Wicomico | 22.009 | Wicomico High | Roof | The project demo scope includes full removal of the existing roofing (majority last installed in 1987) down to the repair/replacement of any damaged deck. At the Auditorium, Building A, and Building D at Wicomico High School, completely remove the exiting built-up roofing systems down to the existing cementitious wood fiber and gypsum plank roof decks. Repair and/or replace any deteriorated roof deck as required and replace all wood blocking above the top flat surface of the roof deck. Raise curbs and pipe penetrations as required to accommodate the new roof system. | 6006000 | 499000 | 6006000 | 0 | State funding increased to $6,016,820 at 10/10/2024 IAC Meeting. State funding increased to $7,002,114 at 12/19/2024 IAC Meeting.
Wicomico | 22.019 | Pittsville Elementary /Middle | Roof | This project has expanded from a full roof restoration to a hybrid partial roof restoration / partial roof replacement. Several areas of the roof are recommended to be fully reroofed including complete removal of the existing roof assembly, and installation of a new roof assembly to include asphaltic built-up roofing, coverboard, roof insulation to meet current code with regards to the thermal resistance and roof slope, and an air/vapor barrier applied directly to a nailed base sheet/rosin paper over the existing Cementous wood fiber roof deck. | 872000 | 66100 | 872000 | 0 | State funding decreased to $869,653 at 10/10/2024 IAC Meeting
Wicomico | 22.001 | Parkside High | Lack of, unreliable, or insufficient air-conditioning | Secure power to unit, remove old unit, replace with new. Plug and play exchange. | 91200 | 0 | 0 | 91200
Wicomico | 22.007 | Delmar Elementary | Lack of, unreliable, or insufficient air-conditioning | Secure power to unit, remove old unit, replace with new, Plug and play exchange. | 129100 | 0 | 0 | 129100
Wicomico | 22.014 | Prince Street Elementary | Lack of, unreliable, or insufficient air-conditioning | Secure power to unit, remove old unit, replace with new. Plug and play exchange. | 15200 | 0 | 0 | 15200
Wicomico | 22.016 | Fruitland Primary School | Lack of, unreliable, or insufficient air-conditioning | Secure power to unit, remove old unit, replace with new. Plug and play exchange. | 30400 | 0 | 0 | 30400
Baltimore City | 30.226 | Mergenthaler Vocational Tech High School | Windows | Replace all 12,740 square feet of existing windows with new pre-finished aluminum windows/frames and hardware, and all exterior doors with FRP doors, pre-finished aluminum frames and hardware, all in the existing masonry openings. | 8259091 | 825909 | 8259091 | 0
Baltimore City | 30.226 | Mergenthaler Vocational Tech High School | Roof | Fund the 129,533 sf roof replacement. | 8704618 | 870462 | 8704618 | 0
Baltimore City | 30.041 | North Bend PK-8 | Roof | Fund the 41,970 sf roof replacement. | 2820384 | 282038 | 2820384 | 0
Baltimore City | 30.174 | Northern Building | Windows | Replace all 26,000 square feet of existing windows. | 4784832 | 478483 | 4784832 | 0
Baltimore City | 30.147 | Paul Lawrence Dunbar Middle School #133 | HVAC Replacement | Replacement of existing HVAC. | 11516991 | 0 | 0 | 11516991
Baltimore City | 30.234 | Johnston Square Elementary School | HVAC Replacement | Replacement of existing HVAC. | 8260890 | 0 | 0 | 8260890
Baltimore City | 30.168 | Booker T. Washington Middle/High School Building #130 | HVAC/Electrical | Design funding for HVAC and electrical upgrade. | 222119 | 222119 | 0 | 222119