## Summary of Approvals
LEA | Total Estimated Project Cost | Funding Requested | Maximum State Award (Estimated or Approved) | Total Prior State Funds | Funding from Other State Sources | Number of Projects Requested | IAC Approval - 75% Project Development & Design Services | IAC Approval - 75% Construction Funding
Allegany | 74179718 | 10246570 | 22209000 | 1124978 | 6937020 | 3 | 250000 | 2693549
Anne Arundel | 243226674 | 41794943 | 117370656 | 1283113 | 46793000 | 12 | 386650 | 14517722.05
Baltimore City | 333544067 | 169119400 | 139955000 | 91069062 | 0 | 42 | 0 | 22678115
Baltimore County | 949857045 | 162230757 | 92540000 | 9632243 | 0 | 17 | 0 | 18559407
Calvert | 66819761 | 9602487 | 35191000 | 11055400 | 13566212 | 4 | 0 | 3281169
Caroline | 66323000 | 2985000 | 2985000 | 0 | 0 | 2 | 2350000 | 400000
Carroll | 29002235 | 13846575 | 0 | 1687463 | 0 | 5 | 0 | 6782361
Cecil | 185910000 | 6792000 | 103447000 | 61919000 | 15340701 | 2 | 0 | 4000000
Charles | 304952000 | 14203765 | 17150730 | 6571635 | 0 | 9 | 770625.1 | 6749331
Dorchester | 28085000 | 2410000 | 24900000 | 0 | 0 | 2 | 2490000 | 0
Frederick | 461171152 | 46274284 | 67069000 | 7163540 | 0 | 9 | 3216000 | 10677465
Garrett | 53243240 | 15243638 | 45358000 | 27201500 | 0 | 3 | 0 | 1000000
Harford | 362890407 | 18512974 | 60948800 | 44479344 | 0 | 5 | 0 | 7000000
Howard | 21569400 | 10709597 | 10743745.5 | 0 | 0 | 19 | 838693 | 7174102.575
Kent | 68542000 | 14000000 | 0 | 252341 | 1569659 | 1 | 0 | 1275000
Maryland School for the Blind | 65438000 | 22154000 | 61866000 | 4395000 | 0 | 1 | 0 | 3161365
Montgomery | 246025000 | 53333529 | 123931350 | 27680971 | 42008500 | 9 | 2316000 | 25590984
Prince George's | 847673000 | 74432812 | 180401340 | 116347962 | 15000000 | 22 | 4570964 | 28795798.5
Queen Anne's | 12601460 | 6113000 | 3612500 | 0 | 0 | 5 | 0 | 2262000
Somerset | 165779628 | 19473895 | 38380515 | 0 | 0 | 5 | 595000 | 2215000
St. Mary's | 60746503 | 17084900 | 33056182 | 1000000 | 0 | 1 | 1882100 | 2507081
Talbot | 39284899 | 2273000 | 13357000 | 7205000 | 3880472 | 1 | 0 | 2271528
Washington | 57811000 | 11116000 | 43847750 | 0 | 19036473 | 6 | 0 | 7534298
Wicomico | 223799000 | 68713296 | 0 | 1000000 | 0 | 5 | 3319000 | 2371192
Worcester | 77889600 | 3770440 | 27466500 | 60000 | 5668571 | 12 | 1867000 | 1650500
Grand Total | 5046363789 | 816436862 | 1265787068.5 | 421128552 | 169800608 | 202 | 24852032.1 | 185147968.125
*Please note that totals may differ slighlty due to rounding.

## 75% IAC Approvals
LEA | Priority | School Name | CIP Request Type | Project Type | PSC Number | Actual/ Estimated Bid Opening Date | Project Description | Target Allocation | Total Estimated Project Cost | IAC Staff Recommendation - Preliminary Project Status | Funding Requested | Maximum State Award (Estimated or Approved) | Total Prior State Funds | Funding from Other State Sources | State Cost Share Percentage | IAC Approval - Local Planning (LP) | IAC Approval - 75% Project Development & Design Services | IAC Approval - 75% Construction Funding
Allegany | 1 | Washington Middle | Construction Funding | Addition | L01F034 | 2025-02-05 | The request is for an addition of 37,371 sf including cooperative use space for 240 students. The Early Childhood Center will serve the surrounding elementary schools. The State share for this project includes the concentration of poverty add-on per COMAR 14.39.02.05. | 3628549 | 23067420 | A | 7387000 | 19859000 | 1124978 | 6937020 | 94% |  | 0 | 1928549
Allegany | 2 | Frost Elementary | Design Services/Local Planning (LP) | Renovation/Addition | L01F029 | 2025-11-01 | The request is to construct an addition of 46,458 sf, including cooperative use space, and renovation of 36,864 sf for 664 students that includes students currently attending Beall Elementary. |  | 48462298 | A | 634570 | 0 | 0 | 0 | 89% | C | 250000 | 0
Allegany | 3 | Washington Middle | Construction Funding | Chilled Water Plant | L01F034 | 2025-11-01 | The request is to install a central chilled water plant to provide air conditioning to the school. |  | 2650000 | A | 2225000 | 2350000 | 0 | 0 | 89% |  | 0 | 765000
Allegany Totals | [7 empty] | 3628549 | 74179718 |  | 10246570 | 22209000 | 1124978 | 6937020 |  |  | 250000 | 2693549
Anne Arundel | 1 | Glen Burnie High | Construction Funding | Roof - Phase 3 | L02F020 | 2024-07-01 | The request is to replace the 2002 99,909 sf roof at Buildings A & B, as well as façade restoration to replace windows, storefront assemblies, and to repair the brick on Building E. | 29126791 | 5663611 | A | 1413693 | 2696806 | 1283113 | 0 | 50% |  | 0 | 1060270
Anne Arundel | 2 | Lindale Middle | Construction Funding | Windows/Roof - Phase 2 | L02F127 | 2025-04-01 | The request is to replace the 1996 138,880 sf built-up roof as well as facade restoration to replace windows and storefront assemblies. |  | 14568000 | A | 6937000 | 7630700 | 0 | 0 | 50% |  | 0 | 1907679.55
Anne Arundel | 3 | Glen Burnie High | Design Services/Construction Funding | Building Enclosure/ Windows/Roof - Phase 4 | L02F020 | 2025-03-01 | The request is to replace the 2000 37,877 sf roof at Building F as well as facade restoration to include replacement of the windows, curtain wall, storefront assemblies, and repairs of the brick facade. |  | 5665000 | A | 2705000 | 2975500 | 0 | 0 | 50% |  | 155000 | 2076625
Anne Arundel | 4 | Arundel High | Construction Funding | Windows - Phase 2 | L02F040 | 2025-04-01 | The request is to replace all of the 1950 windows. |  | 1590000 | A | 757000 | 757000 | 0 | 0 | 50% |  | 0 | 567750
Anne Arundel | 5 | Van Bokkelen Elementary | Construction Funding | Air Handling Units | L02F004 | 2024-10-16 | The request is to replace nine multi-zone hydronic rooftop air handling units (RTUs), three hydronic/DX RTUs, and one DX RTU. Installation of 21 exhaust fans, makeup air unit, and new roof curbs. |  | 4662000 | A | 2220000 | 2886000 | 0 | 0 | 50% |  | 0 | 2162500
Anne Arundel | 6 | Annapolis High | Design Services/Construction Funding | Main Distribution Center/Motor Control Center | L02F030 | 2024-09-03 | The request is to replace the existing main switchboard and branch circuit panelboards. |  | 1671000 | A | 797500 | 797500 | 0 | 0 | 50% |  | 72500 | 525625
Anne Arundel | 7 | Severn Elementary | Design Services/Construction Funding | Boilers | L02F043 | 2024-10-02 | The request is to replace two 2000 gas-fired condensing-type boilers, flues, two water distribution pumps, and expansion tank. The existing rooftop mounted exhaust fan will be relocated and automatic glycol feeder and associated 30-percent glycol piping solution will be replaced with an all-water piping fluid. |  | 1124000 | A | 544000 | 598400 | 0 | 0 | 50% |  | 53900 | 394900
Anne Arundel | 8 | Broadneck Elementary | Design Services/Construction Funding | Main Distribution Center/Motor Control Center | L02F023 | 2025-01-07 | The request is to replace the existing main switchboard and branch circuit panelboards. |  | 848863 | A | 404250 | 404250 | 0 | 0 | 50% |  | 36750 | 266437.5
Anne Arundel | 9 | Jones Elementary | Design Services/Construction Funding | Boilers | L02F094 | 2025-01-22 | The request is to replace two 1994 gas-fired condensing-type boilers, flues, two water distribution pumps, and expansion tank. A new automatic temperature control valve will be installed and the existing fuel oil distribution pumping system will be removed. |  | 746200 | A | 346500 | 346500 | 0 | 0 | 50% |  | 31500 | 228375
Anne Arundel | 10 | Piney Orchard Elementary | Design Services/Construction Funding | Fire Safety | L02F100 | 2024-10-16 | The request is to replace the 2000 fire alarm system. |  | 751000 | A | 359000 | 394900 | 0 | 0 | 50% |  | 29000 | 267175
Anne Arundel | 11 | Piney Orchard Elementary | Design Services/Construction Funding | Public Address Intercom System | L02F100 | 2024-10-16 | The request is to replace the 2002 public address intercom system. |  | 651000 | A | 311000 | 342100 | 0 | 0 | 50% |  | 8000 | 248575
Anne Arundel | 12 | Old Mill High | Construction Funding | Replacement | L02F139 | 2025-02-02 | The request is for a replacement of 313,698 sf, including cooperative use space and demolition, for 2,137 students. This project received partial funding through the Built to Learn program. |  | 205286000 | A | 25000000 | 97541000 | 0 | 46793000 | 55% |  | 0 | 4811810
Anne Arundel Totals | [7 empty] | 29126791 | 243226674 |  | 41794943 | 117370656 | 1283113 | 46793000 |  |  | 386650 | 14517722.05
Baltimore City | 1 | Maree G. Farring EM Annex | Construction Funding | Renovation/Addition | L30F286 | 2023-01-01 | The request is for an addition of 18,860 sf and renovation of 6,117 sf, and demolition of 5,443 sf, for 618 students. The State share for this project includes the concentration of poverty add-on per COMAR 14.39.02.05. See worksheet for approved scope and funding details. | 30383603 | 18809000 | A | 9063000 | 18809000 | 9750000 |  | 100% |  | 0 | 6794250
Baltimore City | 2 | Furley Elementary # 206 | Construction Funding | Replacement | L30F256 | 2022-12-01 | The request is for a replacement school on the same site with 96,733 sf, including cooperative use space and demolition of 76,089 sf, for 530 students. |  | 48663000 | A | 7544000 | 42852000 | 35308000 |  | 96% |  | 0 | 5658000
Baltimore City | 3 | Armistead Gardens PK-8 # 243 | Construction Funding | Addition/Renovation | L30F186 | 2023-03-01 | The request is for an addition of 141,652 sf, including cooperative use space, renovation of 57,255 sf, and demolition for 942 students. |  | 50934000 | A | 10000000 | 50894000 | 30000000 |  | 100% |  | 0 | 7500000
Baltimore City | 4 | Northeast Middle # 049 | Construction Funding | Limited Renovation | L30F137 | 2022-10-01 | The request is for renovation of 114,900 sf including cooperative use space for 591 students. |  | 28541667 | A | 10138000 | 27400000 | 13687862 |  | 96% |  | 0 | 2725865
Baltimore City | 5 | Lakeland PK-8 # 012 | Local Planning (LP)/Construction Funding | Modular Replacement | L30F179 | TBD | The request is for a 22,000 sf prefabricated modular building replacement for 6th to 8th grade students. |  | 9000000 | Z | 9000000 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 6 | Benjamin Franklin Building # 239 | Local Planning (LP)/Construction Funding | Modular Replacement | L30F099 | TBD | The request is for a 22,000 sf prefabricated modular building replacement with 20 classrooms. |  | 9000000 | Z | 9000000 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 7 | Edmondson High School Building # 400A | Design Services/Construction Funding | Multi-Systemic | L30F246 | 2027-01-01 | The request is to replace the 1961 HVAC, Fire alarm, sprinkler system, emergency lighting, building signage, emergency backup generator, windows, window shades, doors, and door hardware. Additional improvements will include flooring, ceilings, and the installation of a security vestibule. |  | 60000000 | Z | 6000000 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 8 | Morrell Park # 220 | Design Services/Construction Funding | Roof | L30F149 | 2023-03-16 | The request is to replace the 1994 42,700 sf built-up roof. This project was awarded funding through the FY 2022 Healthy School Facility Fund. |  | 2004000 | Z | 2004000 | 0 | 2323200 | 0 | 100% |  | 0 | 0
Baltimore City | 9 | Paul Laurence Dunbar Middle Building # 133 | Design Services/Construction Funding | Fire Safety | L30F147 | 2026-02-01 | The request is to replace the 2000 fire alarm and install a sprinkler system. The existing building does not currently have a sprinkler system. |  | 2289100 | Z | 2289100 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 10 | Moravia Park Building # 105B (formerly Frankford # 216) | Design Services/Construction Funding | Fire Safety | L30F232 | 2026-02-01 | The request is to replace the 1973 fire alarm and install a sprinkler system. The existing building does not currently have a sprinkler system. |  | 1082400 | Z | 1082400 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 11 | Booker T. Washington Building # 130 | Design Services/Construction Funding | HVAC | L30F168 | 2026-02-01 | The request is to replace the 1967 HVAC system. In addition, domestic water lines, a building wide water filtration system, and water fountains will be installed. Design services funding was awarded to this project through the FY 2023 Healthy School Facility Fund. |  | 21997000 | Z | 21775000 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 12 | Booker T. Washington Building # 130 | Design Services/Construction Funding | Fire Safety | L30F168 | 2026-02-01 | The request is to replace the 2000 fire alarm and install a sprinkler system. The existing building does not currently have a sprinkler system. |  | 3965500 | Z | 3965500 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 13 | Furman L. Templeton Elementary # 125 | Design Services/Construction Funding | Fire Safety | L30F061 | 2026-02-01 | The request is to replace the 1974 fire alarm and install a sprinkler system. The existing building does not currently have a sprinkler system. |  | 1530100 | Z | 1530100 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 14 | Harlem Park Building #078 | Design Services/Construction Funding | Fire Safety | L30F274 | 2026-02-01 | The request is to replace the 1963 fire alarm and install a sprinkler system. The existing building does not currently have a sprinkler system. |  | 6099500 | Z | 6099500 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 15 | Baltimore Leadership School for Young Women | Design Services/Construction Funding | Elevator | L30F284 | 2026-02-01 | The request is to upgrade the existing elevator by replacing elevator mechanical/electrical systems and renovating the existing cab. |  | 650000 | Z | 650000 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 16 | Coldstream Park # 031 | Design Services/Construction Funding | Elevator | L30F198 | 2026-02-01 | The request is to install an elevator system in the 1971 building. |  | 1815000 | Z | 1815000 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 17 | Liberty # 064 | Design Services/Construction Funding | Fire Safety | L30F135 | 2026-02-01 | The request is to replace the 1978 fire alarm system and install emergency lighting, building signage, and an emergency backup generator. |  | 374000 | Z | 374000 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 18 | Mergenthaler Vocational-Technical High CTE # 410 | Design Services/Construction Funding | Fire Safety | L30F226 | 2026-02-01 | The request is to replace the 2002 fire alarm and sprinkler systems. |  | 6707800 | Z | 6707800 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 19 | Mt. Royal Elementary/Middle # 066 | Design Services/Construction Funding | Fire Safety | L30F069 | 2026-02-01 | The request is to replace the 1982 fire alarm, and install a sprinkler system, emergency lighting, building signage, and an emergency backup generator. The existing building does not have a sprinkler system. |  | 2094400 | Z | 2094400 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 20 | Gardenville Elementary # 211 | Design Services/Construction Funding | Multi-Systemic | L30F161 | 2026-02-01 | The request is to replace the 1981 HVAC, fire alarm, and sprinkler systems. In addition, emergency lighting, building signage, an emergency backup generator, domestic water lines, a building wide water filtration system, and water fountains will be installed. |  | 4767400 | Z | 4767400 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 21 | Hamilton Building # 041 | Design Services/Construction Funding | Roof | L30F021 | 2026-02-01 | The request is to replace the 1997 47,728 sf roof. |  | 4462700 | Z | 4462700 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 22 | Cecil Elementary # 007 | Design Services/Construction Funding | Roof | L30F250 | 2026-02-01 | The request is to replace the 2000 45,547 sf roof. |  | 4258100 | Z | 4258100 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 23 | Northern Building # 402 | Design Services/Construction Funding | Fire Safety | L30F174 | 2026-02-01 | The request is to replace the existing 1965 fire alarm and install a sprinkler system, emergency lighting, building signage, and an emergency backup generator. The existing building does not have a sprinkler system. |  | 6433900 | Z | 6433900 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 24 | Roland Park Elementary/Middle # 233 | Design Services/Construction Funding | Fire Safety | L30F092 | 2026-02-01 | The request is to replace the existing 1980 fire alarm, sprinkler system, and install emergency lighting, building signage, and an emergency backup generator. |  | 2383700 | Z | 2383700 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 25 | Edgecombe Circle PK-8 # 062 | Design Services/Construction Funding | Elevator | L30F199 | 2026-02-01 | The request is to install an elevator in the 1957 building. |  | 1815000 | Z | 1815000 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 26 | Abbottston Building # 050 | Design Services/Construction Funding | Fire Safety | L30F224 | 2026-02-01 | The request is to replace the 2004 fire alarm and sprinkler systems and to install emergency lighting, building signage, and an emergency backup generator. |  | 1229800 | Z | 1229800 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 27 | Dickey Hill PK-8 # 201 | Design Services/Construction Funding | Fire Safety | L30F255 | 2026-02-01 | The request is to replace the existing 1966 fire alarm and install a sprinkler system, emergency lighting, building signage, and an emergency backup generator. The existing building does not have a sprinkler system. |  | 1509200 | Z | 1509200 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 28 | Diggs-Johnson Building # 162 | Design Services/Construction Funding | Fire Safety | L30F249 | 2026-02-01 | The request is to replace the existing 1969 fire alarm and install a sprinkler system, emergency lighting, building signage, and an emergency backup generator. The existing building does not have a sprinkler system. |  | 1276000 | Z | 1276000 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 29 | Lakewood Early Learning Center # 086 | Design Services/Construction Funding | Elevator | L30F269 | 2026-02-01 | The request is to install an elevator system in the 1967 building. |  | 1815000 | Z | 1815000 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 30 | Belmont Elementary # 217 | Design Services/Construction Funding | Elevator | L30F214 | 2026-02-01 | The request is to install an elevator system in the 1962 building. |  | 1815000 | Z | 1815000 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 31 | Digital Harbor High # 416 | Design Services/Construction Funding | Fire Safety | L30F146 | 2026-02-01 | The request is to replace the existing 2005 fire alarm and sprinkler systems and to install emergency lighting, building signage, and an emergency backup generator. |  | 5322900 | Z | 5322900 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 32 | Dr. Bernard E. Harris Sr. Elementary # 250 | Design Services/Construction Funding | Fire Safety | L30F204 | 2026-02-01 | The request is to replace the existing 1971 fire alarm system and install a sprinkler system, emergency lighting, building signage, and an emergency backup generator. The existing building does not have a sprinkler system. |  | 1582900 | Z | 1582900 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 33 | Dr. Nathan Pitts/Ashburton PK-8 # 058 | Design Services/Construction Funding | Fire Safety | L30F218 | 2026-02-01 | The request is to replace the existing 1995 fire alarm and sprinkler systems and to install emergency lighting, building signage, and an emergency backup generator. |  | 1542200 | Z | 1542200 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 34 | Collington Square PK-8 # 097 | Design Services/Construction Funding | Elevator | L30F053 | 2026-02-01 | The request is to install an elevator system in the 1964 building. |  | 1815000 | Z | 1815000 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 35 | Johnston Square Elementary # 016 | Design Services/Construction Funding | Elevator | L30F234 | 2026-02-01 | The request is to install an elevator system in the 1964 building. |  | 1815000 | Z | 1815000 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 36 | Beechfield PK-8 # 246 | Design Services/Construction Funding | Roof | L30F195 | 2026-02-01 | The request is to replace the 1991 34,600 sf roof. |  | 3235100 | Z | 3235100 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 37 | Harbor City Building - West # 413 | Design Services/Construction Funding | Roof | L30F213 | 2026-02-01 | The request is to replace the 2000 26,928 sf roof. |  | 2517900 | Z | 2517900 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 38 | Abbottston Building # 050 | Design Services/Construction Funding | Windows/Doors | L30F224 | 2026-02-01 | The request is to replace all existing 2004 windows, doors, and frames. |  | 1685200 | Z | 1685200 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 39 | Baltimore Leadership School for Young Women | Design Services/Construction Funding | Windows/Doors | L30F284 | 2026-02-01 | The request is to replace windows and doors in 6,135 sf of the facility. |  | 1260600 | Z | 1260600 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 40 | Dr. Bernard E. Harris Sr. Elementary # 250 | Design Services/Construction Funding | Elevator | L30F204 | 2026-02-01 | The request is to install an elevator system in the 1971 building. |  | 1815000 | Z | 1815000 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 41 | Hilton Elementary # 021 | Design Services/Construction Funding | Elevator | L30F254 | 2026-02-01 | The request is to install an elevator system in the 1966 building. |  | 1815000 | Z | 1815000 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City | 42 | Curtis Bay PK-8 # 207 | Design Services/Construction Funding | Elevator | L30F248 | 2026-02-01 | The request is to install an elevator system in the 1964 building. |  | 1815000 | Z | 1815000 | 0 | 0 | 0 | 91% |  | 0 | 0
Baltimore City Totals | [7 empty] | 30383603 | 333544067 |  | 169119400 | 139955000 | 91069062 |  |  |  | 0 | 22678115
Baltimore County | 1 | Dulaney High | Construction Funding | Replacement | L03F133 | 2025-04-01 | The request is for replacement of 354,790 sf, including cooperative use space and demolition, for 2,019 students. | 33164734 | 256167056 | U | 107836000 | 92540000 | 7843000 | 0 | 57% |  | 0 | 18559407
Baltimore County | 2 | Patapsco High & Center for Arts | Design Services/Construction Funding | Addition | L03F145 | TBD | The request is for the construction of an addition of 64,246 sf and renovation of 6,615 sf, including cooperative use space, for 1,421 students. |  | 53033589 | Z | 2000000 | 0 | 895000 | 0 | 57% |  | 0 | 0
Baltimore County | 3 | Northwest Area CTE Center | Design Services | New | L03F227 | TBD | The request is for the construction of 113,743 sf new Career, Technology and Education Regional Center, including cooperative use space, for 380 students. |  | 91898657 | Z | 3716757 | 0 | 644243 | 0 | 57% |  | 0 | 0
Baltimore County | 4 | Sparrows Point Middle/High | Design Services | Replacement | L03F051 | TBD | The request is for replacement school with 310,161 sf, including cooperative use space, and demolition for 1,729 students. |  | 250594580 | Z | 8723000 | 0 | 0 | 0 | 57% |  | 0 | 0
Baltimore County | 5 | Overlea High | Design Services | Replacement | L03F165 | TBD | The request is for replacement school with 294,023 sf, including cooperative use space, and demolition for 1,726 students. |  | 237555883 | Z | 8597000 | 0 | 250000 | 0 | 57% |  | 0 | 0
Baltimore County | 6 | Eastern Technical High | Design Services/Construction Funding | Electrical Upgrade | L03F075 | 2026-05-01 | The request is to replace the 1971 main distribution center. |  | 6650000 | Z | 3448500 | 0 | 0 | 0 | 57% |  | 0 | 0
Baltimore County | 7 | Perry Hall High | Design Services/Construction Funding | Chillers | L03F011 | 2026-05-01 | The request is to replace the existing 1997 chillers and 2005 associated cooling tower, water pumps, main electrical switchgear, dual temperature pumps, piping valves, controls, and accessories located in the addition section of the school building. |  | 1250000 | Z | 627000 | 0 | 0 | 0 | 57% |  | 0 | 0
Baltimore County | 8 | Owings Mills High | Design Services/Construction Funding | Chiller | L03F073 | 2026-05-01 | The request is to replace the 1993 chiller and associated equipment located in the auditorium. |  | 830000 | Z | 407550 | 0 | 0 |  | 57% |  | 0 | 0
Baltimore County | 9 | Western School of Technology/Science | Design Services/Construction Funding | Public Address Intercom System | L03F008 | 2026-03-01 | The request is to replace the 1995 public address intercom system. |  | 1729460 | Z | 878000 | 0 | 0 | 0 | 57% |  | 0 | 0
Baltimore County | 10 | Sudbrook Magnet Middle | Design Services/Construction Funding | Boilers | L03F126 | 2026-02-01 | The request is to replace two 1996 boilers. |  | 1446440 | Z | 729000 | 0 | 0 | 0 | 57% |  | 0 | 0
Baltimore County | 11 | McCormick Elementary | Design Services/Construction Funding | Roof | L03F191 | 2026-02-01 | The request is to replace the 1997 54,450 sf built-up roof. |  | 4660000 | Z | 2413950 | 0 | 0 | 0 | 57% |  | 0 | 0
Baltimore County | 12 | Sparks Elementary | Design Services/Construction Funding | Boilers | L03F117 | 2026-02-01 | The request is to replace the two 1998 boilers. |  | 890660 | Z | 439000 | 0 | 0 | 0 | 57% |  | 0 | 0
Baltimore County | 13 | Dundalk Middle | Design Services/Construction Funding | Roof | L03F041 | 2026-02-01 | The request is to replace the 1999 143,070 sf built up roof. |  | 12050000 | Z | 6270000 | 0 | 0 | 0 | 57% |  | 0 | 0
Baltimore County | 14 | Franklin Middle | Design Services/Construction Funding | Boilers | L03F127 | 2026-02-01 | The request is to replace two 1998 boilers, circulating pumps, air separator, chemical feeder, hydronic piping, valves, controls, breeching, combustion air controls, insulation, and accessories. |  | 1446440 | Z | 729000 | 0 | 0 | 0 | 57% |  | 0 | 0
Baltimore County | 15 | Seventh District Elementary | Design Services/Construction Funding | HVAC/Open Space Enclosure/Electrical | L03F086 | 2026-07-01 | The request is to replace the 2001 HVAC system, open space enclosure, and electrical components. |  | 13780520 | Z | 7174000 | 0 | 0 | 0 | 57% |  | 0 | 0
Baltimore County | 16 | Kingsville Elementary | Design Services/Construction Funding | Public Address Intercom System | L03F080 | 2026-02-01 | The request is to replace the public address intercom system. |  | 1141640 | Z | 571000 | 0 | 0 | 0 | 57% |  | 0 | 0
Baltimore County | 17 | Winfield Elementary | Design Services/Construction Funding | HVAC/Roof/Masonry | L03F027 | 2026-04-01 | The request is to replace the 2001 57,261 sf built up roof and mechanical system. |  | 14732120 | Z | 7671000 | 0 | 0 | 0 | 57% |  | 0 | 0
Baltimore Totals | [7 empty] | 33164734 | 949857045 |  | 162230757 | 92540000 | 9632243 |  |  |  | 0 | 18559407
Calvert | 1 | Northern Middle | Construction Funding | Replacement | L04F006 | 2024-11-05 | The request is to construct a replacement school of 104,914 sf on the existing site including cooperative use space and demolition for 726 students. The State share for this project was increased to include the maintenance add-on per COMAR 14.39.02.05. | 3832523 | 62124600 | A | 8033801 | 35191000 | 10638200 | 13566212 | 61% |  | 0 | 3281169
Calvert | 2 | Northern High | Construction Funding | Air Handling Units | L04F005 | 2024-12-03 | The request is to replace the existing heating and ventilation air handling unit serving the auditorium original to the 1985 building. |  | 1083725 | Z | 245686 | 0 | 338800 | 0 | 56% |  | 0 | 0
Calvert | 3 | Sunderland Elementary | Construction Funding | HVAC | L04F014 | 2025-03-15 | The request is to replace 1988 air handlers, associated terminal units, and controls. |  | 2623936 | Z | 784000 | 0 | 78400 | 0 | 56% |  | 0 | 0
Calvert | 4 | Plum Point Middle | Design Services/Construction Funding | Curtain Wall/Skylight Systems | L04F017 | 2026-01-05 | The request is to replace the existing curtain wall assemblies and the skylight systems that are original to the 1992 building. |  | 987500 | Z | 539000 | 0 | 0 | 0 | 56% |  | 0 | 0
Calvert Totals | [7 empty] | 3832523 | 66819761 |  | 9602487 | 35191000 | 11055400 | 13566212 |  |  | 0 | 3281169
Caroline | 1 | Denton Elementary | Construction Funding | Chiller | L05F003 | 2025-06-15 | The request is to replace the 2000 chiller. | 2750000 | 400000 | A | 400000 | 400000 | 0 | 0 | 94% |  | 0 | 400000
Caroline | 2 | Lockerman Middle | Project Development & Design Services | Replacement | L05F005 | TBD | The request is to fund a Feasibility Study and Educational Specifications document. |  | 65923000 | A | 2585000 | 2585000 | 0 | 0 | 94% |  | 2350000 | 0
Caroline Totals | [7 empty] | 2750000 | 66323000 |  | 2985000 | 2985000 | 0 | 0 |  |  | 2350000 | 400000
Carroll | 1 | Sandymount Elementary | Local Planning (LP)/Construction Funding | Addition/Renovation | L06F005 | 2025-02-28 | The request is to construct an addition of 8,795 gsf to house four Kindergarten classrooms and two Prek classrooms, as well as 1,064 gsf of renovation to convert two third grade classrooms into early childhood support spaces and a connecting corridor. | 9332946 | 6013825 | A | 2537538 | 0 | 522033 | 0 | 54% | A | 0 | 2511629
Carroll | 2 | Cranberry Station Elementary | Local Planning (LP)/Construction Funding | Addition/Renovation | L06F046 | 2025-02-28 | The request is to construct an addition of 5,318 gsf to house two Kindergarten classrooms and one PreK classroom, as well as 74 gsf of renovation to convert a vestibule into a ramped corridor. |  | 3229835 | A | 1537296 | 0 | 251751 | 0 | 54% | A | 0 | 1152972
Carroll | 3 | Taneytown Elementary | Local Planning (LP)/Construction Funding | Addition/Renovation | L06F016 | 2025-02-28 | The request is to construct an addition of 5,842 gsf to house two Kindergarten classrooms and two PreK classrooms, as well as 1,147 gsf of renovation to convert a PreK classroom into support spaces and a connecting corridor. |  | 4106988 | A | 2100757 | 0 | 296548 | 0 | 54% | A | 0 | 1321625
Carroll | 4 | Friendship Valley Elementary | Local Planning (LP)/Construction Funding | Addition/Renovation | L06F038 | 2025-02-28 | The request is to construct an addition of 7,944 gsf to house a four classroom suite for the regional alternative education PRIDE program, 5,735 gsf to house two Kindergarten classrooms and two PreK classrooms as well as 857 gsf of renovation to convert an existing PreK classroom into a connecting corridor and support spaces. |  | 8594587 | A | 4480284 | 0 | 297831 | 0 | 54% | A | 0 | 1796135
Carroll | 5 | Carroll Springs Special Education | Construction Funding | HVAC | L06F027 | 2025-06-06 | The request is to replace the existing 1981 HVAC system. The heating plant, consisting of boilers, pumps, breaching, and controls, chilled water plant, consisting of air-cooled chiller, pump, and controls, hydronic distribution systems, pneumatic control system, fire alarm control panel, generator, lighting fixtures, and associated electrical distribution system will also be replaced and updated. |  | 7057000 | Z | 3190700 | 0 | 319300 | 0 | 54% |  | 0 | 0
Carroll Totals | [7 empty] | 9332946 | 29002235 |  | 13846575 | 0 | 1687463 | 0 |  |  | 0 | 6782361
Cecil | 1 | North East Middle/High | Construction Funding | Replacement | L07F044 | 2024-04-12 | The request is for a collocated middle and high school of 299,982 sf including cooperative use, on an adjacent site to the existing high school, and demolition of the existing high school facility for 817 middle school students and 1,088 high school students. | 4788586 | 181110000 | A | 6000000 | 103447000 | 61919000 | 12724701 | 66% |  | 0 | 4000000
Cecil | 2 | Cecil Manor Elementary | Construction Funding | HVAC | L07F030 | 2025-03-01 | The request is to replace the 1995 HVAC system. The boilers, pumps, appurtenances, controls, terminal HVAC equipment, air-cooled chiller, and domestic hot water heater will also be replaced and updated. |  | 4800000 | Z | 792000 | 0 | 0 | 2616000 | 71% |  | 0 | 0
Cecil Totals | [7 empty] | 4788586 | 185910000 |  | 6792000 | 103447000 | 61919000 | 15340701 |  |  | 0 | 4000000
Charles | 1 | General Smallwood Middle | Construction Funding | HVAC | L08F005 | 2024-02-15 | The request is to replace the 1979 HVAC system. This project received $2,674,000 through another State funding source. The State share for this project was increased to include the maintenance add-on per COMAR 14.39.02.05. | 10959574 | 15963000 | A | 1624083 | 5433807 | 5406237 | 0 | 69% |  | 0 | 27570
Charles | 2 | La Plata High | Local Planning (LP) | Renovation/Addition | L08F013 | 2026-01-10 | The request is for a renovation of 172,368 sf and an addition of 71,841 sf as well as demolition for 1,573 students. |  | 176995000 | Z | 0 | 0 | 0 | 0 | 64% |  | 0 | 0
Charles | 3 | J.C. Parks Elementary | Construction Funding | PreK & K Addition | L08F030 | 2024-12-01 | The request is for an addition of 6,247 sf for three kindergarten classrooms and renovation of 6,526 sf for 86 students. |  | 8524000 | A | 2553602 | 4010672 | 1165398 | 0 | 69% |  | 0 | 2195732.25
Charles | 4 | William B. Wade Elementary | Local Planning (LP)/Design Services/Construction Funding | Renovation/Addition | L08F028 | 2025-01-01 | The request is for a 7,985 sf addition that would contain general classrooms. A portion of the 2002 building will have 19,616 sf renovated to create an early childhood wing containing five Kindergarten classrooms, two PreK classrooms, and one classroom for three year olds. Additionally, one classroom at both the Kindergarten and PreK levels will be increased in size. The existing stage and health suite will be relocated. Playground equipment will be impacted by the addition and will be replaced. |  | 13955000 | U | 8492000 | 6963121 | 0 | 0 | 64% | A | 696312.1 | 4526028.75
Charles | 5 | Piccowaxen Middle | Design Services/Construction Funding | Boilers | L08F015 | 2025-02-01 | The request is to replace the 1977 boilers and pump system. |  | 1277000 | A | 689280 | 743130 | 0 | 0 | 64% |  | 74313 | 0
Charles | 6 | Dr. Thomas L. Higdon Elementary | Local Planning (LP)/Design Services | PreK & K Addition/ Renovation | L08F027 | 2025-08-01 | The request is for a 4,600 sf addition for one PreK classroom, two Kindergarten classrooms, and an activity room, and renovation of 3,500 sf of existing spaces to provide a PreK classroom and Kindergarten classroom. |  | 5408000 | Z | 0 | 0 | 0 | 0 | 64% |  | 0 | 0
Charles | 7 | Walter J. Mitchell Elementary | Local Planning (LP) | PreK & K Addition/ Renovation | L08F033 | 2025-07-01 | The request is for an addition of 7,200 sf for four Kindergarten classrooms, one PreK classroom, and renovation of 7,500 sf for 88 students. |  | 8491000 | Z | 0 | 0 | 0 | 0 | 64% |  | 0 | 0
Charles | 8 | Middle #10 | Local Planning (LP) | New | L08F050 | 2025-01-01 | The request is to construct a new school of 135,000 sf for 975 students. |  | 72799000 | Z | 0 | 0 | 0 | 0 | 64% |  | 0 | 0
Charles | 9 | La Plata High - State Quads | Design Services/Construction Funding | Mechanical/Structural | L08F013 | 2025-02-01 | The request is for renovation of the existing classroom layouts and replacement of the HVAC system and roof. Structural repairs will be made if necessary. |  | 1540000 | Z | 844800 | 0 | 0 | 0 | 64% |  | 0 | 0
Charles Totals | [7 empty] | 10959574 | 304952000 |  | 14203765 | 17150730 | 6571635 | 0 |  |  | 770625.1 | 6749331
Dorchester | 1 | Cambridge South Dorchester | Design Services | Chill Water Piping/Insulation | L09F009 | TBD | The request is to replace the 1976 chilled water piping and insulation as well as ductwork insulation and associated roof repairs. Chiller replacement will be investigated as part of the design. | 2750000 | 5355000 | A | 510000 | 5100000 | 0 |  | 98% |  | 510000 | 0
Dorchester | 2 | Mace's Lane Middle | Design Services | Roof/Mechanical | L09F015 | 2025-02-19 | The request is to replace the (2003) 63,748 sf roof and all rooftop mechanical units, all heat pumps, lights, and ceiling system, and to install energy recovery and dehumidification units. |  | 22730000 | A | 1900000 | 19800000 | 0 | 0 | 98% |  | 1980000 | 0
Dorchester Totals | [7 empty] | 2750000 | 28085000 |  | 2410000 | 24900000 | 0 | 0 |  |  | 1980000 | 0
Frederick | 1 | New Elementary School #41 | Local Planning (LP)/Design Services | New | L10F084 | 2026-01-01 | The request is for a new school with 100,073 sf including cooperative use space for 882 students. | 18008033 | 69939259 | A | 3780620 | 0 | 0 | 0 | 67% | B | 3216000 | 0
Frederick | 2 | Middletown Elementary/Middle | Construction Funding | Replacement | L10F085 | 2025-05-30 | The request is for a replacement collocated school of 177,956 sf and demolition for 1,373 students. The State share for this project was increased to include the maintenance add-on per COMAR 14.39.02.05. |  | 125065445 | A | 19260000 | 67069000 | 7163540 | 0 | 72% |  | 0 | 10677465
Frederick | 3 | Brunswick High | Local Planning (LP)/Design Services | Replacement | L10F036 | 2026-02-01 | The request is for a replacement school of 198,465 sf and demolition for 991 students. |  | 155658745 | Z | 7621663 | 0 | 0 | 0 | 67% |  | 0 | 0
Frederick | 4 | Liberty Elementary | Local Planning (LP)/Design Services | Replacement | L10F035 | 2026-11-01 | The request is for a replacement school of 90,358 sf and demolition for 745 students. |  | 66387546 | Z | 3377055 | 0 | 0 | 0 | 67% |  | 0 | 0
Frederick | 5 | Twin Ridge Elementary | Design Services/Construction Funding | Limited Renovation | L10F044 | 2026-02-01 | The request is for a limited renovation of 68,900 sf for 654 students. |  | 20752657 | Z | 8867926 | 0 | 0 | 0 | 67% |  | 0 | 0
Frederick | 6 | Hillcrest Elementary | Local Planning (LP)/Design Services | Limited Renovation | L10F039 | 2026-04-01 | The request is for a limited renovation of 62,305 sf for 534 students. |  | 19191500 | Z | 569500 | 0 | 0 | 0 | 67% |  | 0 | 0
Frederick | 7 | Middletown High | Construction Funding | Roof | L10F005 | 2025-12-01 | The request is for a partial replacement of the 1984 16,803 sf built up roof section A. |  | 1020000 | Z | 683000 | 0 | 0 | 0 | 67% |  | 0 | 0
Frederick | 8 | Tuscarora High | Construction Funding | Roof Flashing | L10F068 | 2025-08-01 | The request is to replace the 2003 hypalon flashing on sections 6, 12, and 13. |  | 276000 | Z | 184920 | 0 | 0 | 0 | 67% |  | 0 | 0
Frederick | 9 | Walkersville Middle | Construction Funding | Roof | L10F045 | 2025-12-02 | The request is for a partial replacement of the 1991 48,251 sf built-up roof sections E and G. |  | 2880000 | Z | 1929600 | 0 | 0 | 0 | 67% |  | 0 | 0
Frederick Totals | [7 empty] | 18008033 |  |  | 46274284 | 67069000 | 7163540 | 0 |  |  | 3216000 | 10677465
Garrett | 1 | Southern Middle | Construction Funding | Addition/Renovation | L11F008 | 2024-05-01 | The request is for a renovation of 92,000 sf, including cooperative use space, and an addition of 10,000 sf for 813 students. The State share for this project was increased to include the maintenance add-on per COMAR 14.39.02.05. | 2750000 | 47955740 | A | 14993638 | 45358000 | 27201500 | 0 | 94% |  | 0 | 1000000
Garrett | 2 | Northern High | Project Development | Limited Renovation | L11F014 | 2026-01-01 | The request is for a limited renovation of 25,000 sf for 742 students. |  | 3937500 | Z | 150000 | 0 | 0 | 0 | 89% |  | 0 | 0
Garrett | 3 | Northern Middle | Project Development | Limited Renovation | L11F009 | 2026-01-01 | The request is for a limited renovation of 10,000 sf for 903 students. |  | 1350000 | Z | 100000 | 0 | 0 | 0 | 89% |  | 0 | 0
Garrett Totals | [7 empty] | 2750000 | 53243240 |  | 15243638 | 45358000 | 27201500 | 0 |  |  | 0 | 1000000
Harford | 1 | Aberdeen Middle | Construction Funding | HVAC/Windows/Doors | L12F006 | 2024-04-15 | The request is to replace the 2002 HVAC, controls, and the electrical system and existing fire alarm system and sprinkler system as needed. In addition, 37 exterior doors and 137 windows will be replaced. The State share for this project was increased to include the maintenance add-on per COMAR 14.39.02.05. | 13998358 | 34174275 | A | 6633974 | 19896800 | 13262826 | 0 | 63% |  | 0 | 3000000
Harford | 2 | Harford Tech High | Construction Funding | Addition/Renovation | L12F008 | 2023-06-28 | The request is for a limited renovation of 62,917 sf and an addition of 1,764 sf for 1,135 students. The request includes selected educational program enhancements and selected system upgrades. |  | 75271087 | A | 10000000 | 41052000 | 31051518 | 0 | 63% |  | 0 | 4000000
Harford | 3 | North Harford High | Construction Funding | Energy Recovery Units | L12F016 | 2026-03-04 | The request is to replace the energy recovery units. |  | 3687000 | Z | 1879000 | 0 | 165000 | 0 | 58% |  | 0 | 0
Harford | 4 | Harford Academy and Elementary School | Local Planning (LP) | New | L12F064 | 2025-12-19 | The request is for a replacement special education school collocated with a new elementary school of 214,880 sf, including cooperative use space for 846 students. |  | 163656645 | Z | 0 | 0 | 0 | 0 | 58% |  | 0 | 0
Harford | 5 | C. Milton Wright High | Local Planning (LP) | Limited Renovation | L12F020 | TBD | The request is for a limited renovation for 1,613 students. The request includes HVAC, building envelope, plumbing, electrical, fire safety, security cameras, and educational program enhancements. The main office will be reconfigured and a secure vestibule will be constructed. |  | 86101400 | Z | 0 | 0 | 0 | 0 | 58% |  | 0 | 0
Harford Totals | [7 empty] | 13998358 | 362890407 |  | 18512974 | 60948800 | 44479344 | 0 |  |  | 0 | 7000000
Howard | 1 | Guilford Elementary | Design Services/Construction Funding | Roof | L13F033 | 2025-11-01 | The request is to replace the 1996 51,308 sf roof. | 23314536 | 2200000 | A | 1122000 | 1232000 | 0 | 0 | 51% |  | 71400 | 803801
Howard | 2 | Clarksville Elementary | Design Services/Construction Funding | Roof | L13F037 | 2025-11-01 | The request is to replace the 1994 45,660 sf roof and 2002/2006 17,718 sf roof. |  | 2760000 | A | 1407600 | 1407600 | 0 | 0 | 51% |  | 86700 | 969002
Howard | 3 | Worthington Elementary | Design Services/Construction Funding | Roof | L13F010 | 2025-11-01 | The request is to replace the 1996 55,382 sf and 1998 5,617 sf built-up roof. |  | 2590000 | A | 1320900 | 1320900 | 0 | 0 | 51% |  | 71400 | 919275
Howard | 4 | Murray Hill Middle | Design Services/Construction Funding | Chiller/Boiler | L13F059 | 2026-11-01 | The request is to replace the 1997 chiller, three boilers, water pumps, appurtenances, and required piping. |  | 1166000 | A | 594660 | 652960 | 0 | 0 | 51% |  | 59360 | 430360
Howard | 5 | Harpers Choice Middle | Design Services/Construction Funding | Chiller/Cooling Tower | L13F003 | 2026-11-01 | The request is to replace the 1998 water cooled chiller, water pumps, cooling tower, appurtenances, and required piping. |  | 816200 | A | 416262 | 457072 | 0 | 0 | 51% |  | 41552 | 301251.8
Howard | 6 | Reservoir High | Design Services/Construction Funding | Cooling Tower | L13F077 | 2026-11-01 | The request is to replace the 2001 cooling tower, water pumps, appurtenances, and required piping. |  | 816200 | A | 416262 | 457072 | 0 | 0 | 51% |  | 41552 | 301251.8
Howard | 7 | Murray Hill Middle | Design Services/Construction Funding | Security Vestibule | L13F059 | 2026-11-01 | The request is to construct an ADA compliant secure vestibule requiring renovation of 1,750 sf including new exterior wall, main entrance door, one classroom, and administrative spaces. |  | 1182000 | A | 552840 | 505540 | 0 | 0 | 51% |  | 50554 | 328601
Howard | 8 | Oakland Mills High | Design Services/Construction Funding | Security Vestibule | L13F002 | 2026-01-01 | The request is to construct an ADA compliant secure vestibule requiring renovation of 200 sf including new storefront framing and exterior door. |  | 106000 | A | 48960 | 43197 | 0 | 0 | 51% |  | 3927 | 28471.05
Howard | 9 | Centennial High | Design Services/Construction Funding | Security Vestibule | L13F036 | 2026-01-01 | The request is construct an ADA compliant secure vestibule requiring renovation of 300 sf including new storefront framing and exterior wall modifications. |  | 500000 | A | 231540 | 212899.5 | 0 | 0 | 51% |  | 19533 | 140141.675
Howard | 10 | Howard High | Design Services/Construction Funding | Windows | L13F012 | 2025-11-01 | The request is to replace the 1952, 1959, and 1976 windows. |  | 2200000 | A | 1122000 | 1122000 | 0 | 0 | 51% |  | 102000 | 739500
Howard | 11 | River Hill High | Design Services/Construction Funding | Security Vestibule | L13F053 | 2026-01-01 | The request is to construct an ADA compliant secure vestibule requiring renovation of 125 sf including demolition of reception storage spaces and replacement of interior door. |  | 137000 | A | 65790 | 46200 | 0 | 0 | 51% |  | 4200 | 30450
Howard | 12 | Glenelg High | Design Services/Construction Funding | Security Vestibule | L13F061 | 2026-01-01 | The request is to construct an ADA compliant secure vestibule requiring renovation of 150 sf including new storefront framing and interior door. |  | 174000 | A | 83640 | 67320 | 0 | 0 | 51% |  | 6120 | 48156
Howard | 13 | Mt. Hebron High | Design Services/Construction Funding | Security Vestibule | L13F019 | 2026-01-01 | The request is to construct an ADA compliant secure vestibule requiring a 800 sf addition as well as renovation of 1,000 sf including reception and administrative spaces. |  | 1903000 | A | 912930 | 807840 | 0 | 0 | 51% |  | 73440 | 532440
Howard | 14 | Mount View Middle | Design Services/Construction Funding | Security Vestibule | L13F049 | 2026-01-01 | The request is to construct an ADA compliant secure vestibule requiring renovation of 2,145 sf including reception and administrative spaces. |  | 1580000 | A | 757860 | 732105 | 0 | 0 | 51% |  | 66555 | 482524.25
Howard | 15 | Mayfield Woods Middle | Design Services/Construction Funding | Boilers | L13F045 | 2026-11-12 | The request is to replace two 1991 boilers, heat pumps, and appurtenances. |  | 880000 | A | 448800 | 448800 | 0 | 0 | 51% |  | 40800 | 295800
Howard | 16 | Bonnie Branch Middle | Design Services/Construction Funding | HVAC | L13F071 | 2027-01-01 | The request is to replace the 1999 gymnasium heating and ventilation system. |  | 688000 | A | 325380 | 325380 | 0 | 0 | 51% |  | 25500 | 218534
Howard | 17 | Ellicott Mills Middle | Design Services/Construction Funding | HVAC | L13F026 | 2027-01-01 | The request is to replace the 2001 gymnasium HVAC system. |  | 688000 | A | 325380 | 325380 | 0 | 0 | 51% |  | 25500 | 218534
Howard | 18 | Mayfield Woods Middle | Design Services/Construction Funding | HVAC | L13F045 | 2027-01-01 | The request is to replace the 1991 gymnasium HVAC system. |  | 688000 | A | 325380 | 325380 | 0 | 0 | 51% |  | 25500 | 218534
Howard | 19 | Fulton Elementary | Design Services/Construction Funding | HVAC | L13F063 | 2027-01-01 | The request is to replace the existing 1997 HVAC system. |  | 495000 | A | 231413 | 254100 | 0 | 0 | 51% |  | 23100 | 167475
Howard Totals | [7 empty] | 23314536 | 21569400 |  | 10709597 | 10743745.5 | 0 | 0 |  |  | 838693 | 7174102.575
Kent | 1 | Kent County Middle | Construction Funding | Replacement | L14F003 | 2025-10-01 | The request is for a replacement school of 88,250 sf, including cooperative use space and demolition, for 506 students. | 2750000 | 68542000 | U | 14000000 | 0 | 252341 | 1569659 | 50% |  | 0 | 1275000
Kent Totals | [7 empty] | 2750000 | 68542000 |  | 14000000 | 0 | 252341 | 1569659 |  |  |  | 1275000
Maryland School for the Blind | 1 | Maryland School for the Blind | Construction Funding | Replacement | L25F001 | 2025-02-01 | The request is to replace and relocate the gymnasium and pool building into a new 67,800 sf combined facility. | 2750000 | 65438000 | A | 22154000 | 61866000 | 4395000 | 0 | 100% |  | 0 | 3161365
MSB Totals | [7 empty] | 2750000 | 65438000 |  | 22154000 | 61866000 | 4395000 | 0 |  |  | 0 | 3161365
Montgomery | 1 | Westland Middle | Design Services/Construction Funding | HVAC | L15F215 | TBD | The request is to replace the 1995/2008 HVAC system. The chiller, cooling tower, boilers, pumps, RTUs, air handlers, unit ventilators, fan coils, unitary heating equipment, building exhaust, central plant appurtenances, and controls will be replaced. | 48169929 | 13500000 | A | 6750000 | 6750000 | 0 | 0 | 50% |  | 613500 | 1422630
Montgomery | 2 | Springbrook High | Design Services/Construction Funding | HVAC - Phase 2 | L15F186 | TBD | The request is for phase 2 of 4 that will complete the systematic HVAC upgrade. This phase will include replacement of the 1992 first floor terminal equipment. |  | 7500000 | A | 3750000 | 3712500 | 0 | 0 | 50% |  | 337500 | 2408750
Montgomery | 3 | Whitman (Walt) High | Design Services/Construction Funding | HVAC - Phase 3 | L15F134 | TBD | The request is for phase 3 of 3 that will complete the systematic HVAC upgrade. This phase will include replacement of the 1992 first through third floor terminal equipment. |  | 7000000 | A | 3500000 | 3811500 | 0 | 0 | 50% |  | 346500 | 3034650
Montgomery | 4 | Resnik (Judith A.) Elementary | Design Services/Construction Funding | HVAC | L15F165 | TBD | The request is to replace the 1991 HVAC system. The boilers, pumps, RTUs, HVAC unit, unit ventilators, central plant appurtenances, unitary equipment, and controls will also be replaced. |  | 7000000 | A | 3500000 | 3465000 | 0 | 0 | 50% |  | 318150 | 2178350
Montgomery | 5 | Loiederman (A. Mario) Middle | Design Services/Construction Funding | HVAC | L15F268 | TBD | The request is to replace the 2005 HVAC system. The RTUs, energy recovery ventilators, ductless split systems, make up air units, central plant appurtenances, unitary equipment, and controls will also be replaced. |  | 4500000 | A | 2250000 | 2450250 | 0 | 0 | 50% |  | 247500 | 2002475
Montgomery | 6 | DuFief Elementary | Design Services/Construction Funding | Roof | L15F105 | TBD | The request is to replace the 1992 55,700 sf built-up roof. |  | 3614000 | A | 1807000 | 1987700 | 0 | 0 | 50% |  | 164250 | 1022220
Montgomery | 7 | Blake (James Hubert) High | Design Services/Construction Funding | Roof - Phase 2 | L15F226 | TBD | The request is phase 2 of 2 to replace the 1998 51,900 sf built-up roof. |  | 3366000 | A | 1683000 | 1683000 | 0 | 0 | 50% |  | 153000 | 847000
Montgomery | 8 | Harmony Hills Elementary | Design Services/Construction Funding | Roof | L15F050 | TBD | The request is to replace the 1999 46,100 sf built up roof. Replacement of the 2011 39,548 sf roof is not included. |  | 2984000 | A | 1492000 | 1790400 | 0 | 0 | 50% |  | 135600 | 649850
Montgomery | 9 | Crown High | Construction Funding | New | L15F284 | TBD | The request is to construct a new school of 358,009 sf, including cooperative use space, for 2,219 students. |  | 196561000 | A | 28601529 | 98281000 | 27680971 | 42008500 | 50% |  | 0 | 12025059
Montgomery Totals | [7 empty] | 48169929 | 246025000 |  | 53333529 | 123931350 | 27680971 | 42008500 |  |  | 2316000 | 25590984
Prince George's | 1 | Suitland High | Construction Funding | Replacement | L16F087 | 2022-05-01 | The request is for a replacement school on the same site with 212,352 sf including cooperative use space as well as demolition for 1,342 students. | 46491815 | 390951000 | A | 2836812 | 101970000 | 99133188 | 0 | 73% |  | 0 | 2836812
Prince George's | 2 | Cool Spring Elementary | Construction Funding | Replacement | L16F134 | 2025-10-01 | The request is for a replacement school on the same site of 131,513 sf, including cooperative use space, and demolition for 910 students. |  | 81162000 | A | 20000000 | 54821000 | 17214774 | 0 | 86% |  | 0 | 10000000
Prince George's | 3 | Cool Spring Elementary - Therapy Pool | Local Planning (LP) | New | L16F134 | 2027-06-01 | The request is to construct a therapy pool and family support center. |  | 27978000 | Z | 0 | 0 | 0 | 0 | 68% |  | 0 | 0
Prince George's | 4 | Northern Adelphi Area High | Local Planning (LP)/Design Services/Construction Funding | New | L16F268 | 2026-12-01 | The request is to construct a new school of 304,000 sf, including cooperative use space for 2,600 students. |  | 250786000 | U | 22000000 | 0 | 0 | 0 | 68% | C | 2209930 | 0
Prince George's | 5 | Riverdale Hills Early Childhood Center | Project Development & Design Services | Renovation/Addition | L16F269 | 2026-03-01 | The request is for a renovation of 16,610 sf and an addition of 8,145 sf for 200 students. |  | 25378000 | Z | 300000 | 0 | 0 | 0 | 68% |  | 0 | 0
Prince George's | 6 | Crossland High | Project Development & Design Services | Addition | L16F033 | 2026-03-01 | The request is to construct an addition of 38,000 sf for 120 students. |  | 25069000 | Z | 300000 | 0 | 0 | 15000000 | 68% |  | 0 | 0
Prince George's | 7 | Stoddert (Benjamin) Middle | Design Services/Construction Funding | Roof | L16F152 | 2026-02-28 | The request is to replace the 1995 50,958 sf built-up roof. |  | 2790000 | A | 1860000 | 1820620 | 0 | 0 | 68% |  | 182062 | 1365465
Prince George's | 8 | King, Jr. (Martin Luther) Middle | Design Services/Construction Funding | Roof | L16F213 | 2026-03-01 | The request is to replace the 1972 89,899 sf built-up roof. The 2010 20,368 sf built up roof will be the local responsibility. |  | 4922000 | A | 3281000 | 3210540 | 0 | 0 | 68% |  | 321054 | 2407905
Prince George's | 9 | Apple Grove Elementary | Design Services/Construction Funding | Windows/Doors | L16F057 | 2026-11-01 | The request is to replace the 1967 and 1998 windows and doors. |  | 2357000 | A | 1276000 | 1370210 | 0 | 0 | 68% |  | 137021 | 1027657.5
Prince George's | 10 | Scotchtown Hills Elementary | Design Services/Construction Funding | Roof | L16F127 | 2026-11-01 | The request is to replace the 1995 50,153 sf built-up roof. |  | 2746000 | A | 1831000 | 1790690 | 0 | 0 | 68% |  | 179069 | 1343017.5
Prince George's | 11 | Melwood Elementary | Design Services/Construction Funding | Roof | L16F168 | 2026-11-01 | The request is to replace the 1996 65,985 sf built-up roof. |  | 3613000 | A | 2409000 | 2195040 | 0 | 0 | 68% |  | 219504 | 1646280
Prince George's | 12 | Chillum Elementary | Design Services/Construction Funding | Windows | L16F090 | 2026-11-01 | The request is to replace the 1978 windows and exterior doors. |  | 2596000 | A | 1406000 | 1715610 | 0 | 0 | 68% |  | 171561 | 1286707.5
Prince George's | 13 | Pullen (Thomas G.) Creative and Performing Arts Academy | Design Services/Construction Funding | Roof | L16F122 | 2026-11-01 | The request is to replace the 2000 89,211 sf built-up roof. |  | 4789000 | A | 3193000 | 2910400 | 0 | 0 | 68% |  | 291040 | 2182800
Prince George's | 14 | Beacon Heights Elementary | Design Services/Construction Funding | Roof | L16F189 | 2026-11-01 | The request is to replace the 1998 39,825 sf built-up roof. |  | 2181000 | A | 1454000 | 1617670 | 0 | 0 | 68% |  | 161767 | 1213252.5
Prince George's | 15 | Cooper Lane Elementary | Design Services/Construction Funding | Windows/Doors | L16F131 | 2026-11-01 | The request is to replace the 1962/1963/1966/1993 windows and exterior doors. |  | 1774000 | A | 961000 | 1031490 | 0 | 0 | 68% |  | 103149 | 773617.5
Prince George's | 16 | Reed (Catherine T.) Elementary | Design Services/Construction Funding | Roof | L16F144 | 2026-11-01 | The request is to replace the 1994/2001 61,273 sf built up roof. |  | 3355000 | A | 2237000 | 2337660 | 0 | 0 | 68% |  | 233766 | 1753245
Prince George's | 17 | Kettering Elementary | Design Services/Construction Funding | Roof | L16F188 | 2026-10-01 | The request is to replace the 1998/2002 62,285 sf built up roof. |  | 3410000 | A | 2273000 | 2377440 | 0 | 0 | 68% |  | 237744 | 582336
Prince George's | 18 | Capitol Heights Elementary | Design Services/Construction Funding | Windows/Doors | L16F056 | 2026-11-01 | The request is to replace all 1959/1964/1969/1975 windows and exterior doors. |  | 2121000 | A | 1149000 | 1232970 | 0 | 0 | 68% |  | 123297 | 376703
Prince George's | 19 | McHenry (James) Elementary | Design Services/Construction Funding | Roof | L16F154 | 2026-10-01 | The request is to replace the 1997/1999 47,662 sf built up roof. |  | 3327000 | Z | 2218000 | 0 | 0 | 0 | 68% |  | 0 | 0
Prince George's | 20 | Largo High | Design Services/Construction Funding | Windows/Doors | L16F011 | 2026-10-01 | The request is to replace the 1970/1974 windows and exterior doors. |  | 2839000 | Z | 1537000 | 0 | 0 | 0 | 68% |  | 0 | 0
Prince George's | 21 | Imagine Foundations at Morningside Public Charter | Design Services/Construction Funding | Windows/Doors | L16F149 | 2026-01-01 | The request is to replace the 1954/1957/1970 windows and exterior doors. |  | 1968000 | Z | 1066000 | 0 | 0 | 0 | 68% |  | 0 | 0
Prince George's | 22 | Princeton Elementary | Design Services/Construction Funding | Windows/Doors | L16F176 | 2026-11-01 | The request is to replace the 1960/1963/1971/1997 windows and exterior doors. |  | 1561000 | Z | 845000 | 0 | 0 | 0 | 68% |  | 0 | 0
Prince George's Totals | [7 empty] | 46491815 | 847673000 |  | 74432812 | 180401340 | 116347962 | 15000000 |  |  | 4570964 | 28795798.5
Queen Anne's | 1 | Matapeake Elementary | Construction Funding | Roof | L17F024 | 2025-02-15 | The request is to replace the existing 3-tab asphalt shingle roof. The project scope includes gutters, downspouts, and flashing associated with sloped roof areas. | 3383000 | 3476250 | U | 1687500 | 1687500 | 0 | 0 | 50% |  | 0 | 1000000
Queen Anne's | 2 | Kennard Elementary | Construction Funding | HVAC | L17F012 | 2026-01-05 | The request is to replace the 2001 HVAC system. |  | 3604460 | A | 1750000 | 1925000 | 0 | 0 | 50% |  | 0 | 1262000
Queen Anne's | 3 | Bayside Elementary | Construction Funding | Storefront Systems | L17F021 | 2025-09-15 | The request is to replace the existing exterior storefront systems along exterior perimeter of the building and at interior vestibule storefront. |  | 1800000 | Z | 900000 | 0 | 0 | 0 | 50% |  | 0 | 0
Queen Anne's | 4 | Kennard Elementary | Construction Funding | Roof | L17F012 | 2025-02-15 | The request is for a partial replacement of the 2001 45,000 sf roof. |  | 3360000 | Z | 1600000 | 0 | 0 | 0 | 50% |  | 0 | 0
Queen Anne's | 5 | Kent Island Elementary | Construction Funding | Fire Safety | L17F007 | 2025-03-19 | The request is to replace the existing 2000 fire alarm. |  | 360750 | Z | 175500 | 0 | 0 | 0 | 50% |  | 0 | 0
Queen Anne's Totals | [7 empty] | 3383000 | 12601460 |  | 6113000 | 3612500 | 0 | 0 |  |  | 0 | 2262000
Somerset | 1 | Crisfield Academy & High School | Local Planning (LP)/Design Services/Construction Funding | Limited Renovation | L19F004 | 2025-04-25 | The request is for a limited renovation for 1,240 students. | 2750000 | 39233953 | A | 11988070 | 38380515 | 0 | 0 | 100% | A | 595000 | 2215000
Somerset | 2 | Greenwood Elementary School | Design Services | Replacement | L19F014 | 2027-02-01 | The request is for a replacement of 118,398 sf including cooperative use space for 898 students. |  | 66936000 | Z | 3970825 | 0 | 0 | 0 | 100% |  | 0 | 0
Somerset | 3 | Somerset Intermediate School | Design Services/Construction | Addition | L19F016 | 2026-05-01 | The request is for an addition of 40,131 sf, renovation of 6,500, and cooperative use space for 677 students. |  | 38654675 | Z | 2500000 |  |  |  | 100% |  | 0 | 0
Somerset | 4 | Washington Academy & High School | Design Services | Limited Renovation | L19F002 | 2026-09-01 | The request is for a limited renovation for 787 students. |  | 20925000 | Z | 985000 | 0 | 0 | 0 | 100% |  | 0 | 0
Somerset | 5 | Carter G. Woodson Elementary School | Project Development & Design Services | Mechanical/Structural/Fire Alarm/Plumbing | L19F005 | 2024-01-01 | The request is to fund a Feasibility Study that will focus on the replacement of the mechanical, plumbing, structural, and fire alarm systems at this school. |  | 30000 | Z | 30000 | 0 | 0 | 0 | 100% |  | 0 | 0
Somerset Totals | [7 empty] | 2750000 | 165779628 |  | 19473895 | 38380515 | 0 | 0 |  |  | 595000 | 2215000
St. Mary's | 1 | Chopticon High | Design Services/Construction Funding | Multi-Systemic | L18F019 | 2025-07-01 | The request is to replace the exterior windows, doors electrical, lighting, fire safety, security, 1996 216,625 sf roof, HVAC system and ADA-related updates. | 5389181 | 60746503 | A | 17084900 | 33056182 | 1000000 | 0 | 58% |  | 1882100 | 2507081
St. Mary's Totals | [7 empty] | 5389181 | 60746503 |  | 17084900 | 33056182 | 1000000 | 0 |  |  | 1882100 | 2507081
Talbot | 1 | Chapel District Elementary | Construction Funding | Renovation/Addition | L20F006 | 2024-04-10 | The request is for the renovation of 46,070 sf and an addition of 16,057 sf including cooperative use space for 396 students. The State share for this project was increased to include the maintenance add-on per COMAR 14.39.02.05. | 2750000 | 39284899 | A | 2273000 | 13357000 | 7205000 | 3880472 | 55% |  | 0 | 2271528
Talbot Totals | [7 empty] | 2750000 | 39284899 |  | 2273000 | 13357000 | 7205000 | 3880472 |  |  | 0 | 2271528
Washington | 1 | Downsville Pike Elementary | Construction Funding | New | L21F059 | 2025-07-01 | The request is for a new school with 84,370 sf including cooperative use space for 688 students. | 8372929 | 51141000 | A | 6552000 | 41975000 | 0 | 19036473 | 88% |  | 0 | 5713369
Washington | 2 | Lincolnshire Elementary | Construction Funding | HVAC | L21F037 | 2026-01-19 | The request is to replace the existing 1997 140-ton air cooled chiller, pumps/piping, temperature controls, and associated electrical components. |  | 827000 | A | 566000 | 601750 | 0 | 0 | 78% |  | 0 | 601750
Washington | 3 | Boonsboro Elementary | Construction Funding | Windows/Doors | L21F027 | 2026-01-19 | The request is to replace all 1991 exterior windows and doors. |  | 969000 | A | 663000 | 705500 | 0 | 0 | 78% |  | 0 | 705500
Washington | 4 | Smithsburg Elementary | Construction Funding | Chiller | L21F036 | 2026-01-19 | The request is to replace the existing 1997 160-ton air cooled chiller, pumps/piping, temperature controls, and associated electrical components. |  | 827000 | A | 566000 | 565500 | 0 | 0 | 78% |  | 0 | 513679
Washington | 5 | Marshall St. Elementary | Construction Funding | Electrical | L21F016 | 2026-01-19 | The request is to replace the 1976 main electrical distribution system and electrical components. |  | 627000 | Z | 429000 | 0 | 0 | 0 | 78% |  | 0 | 0
Washington | 6 | Hancock Elementary | Construction Funding | HVAC | L21F015 | 2026-01-19 | The request is to replace the 1977 HVAC system. |  | 3420000 | Z | 2340000 | 0 | 0 | 0 | 78% |  | 0 | 0
Washington Totals | [7 empty] | 8372929 | 57811000 |  | 11116000 | 43847750 | 0 | 19036473 |  |  | 0 | 7534298
Wicomico | 1 | Fruitland Primary | Design Services/Construction Funding | Replacement | L22F016 | 2024-04-01 | The request is for a replacement school of 99,775 sf, including cooperative use space, and demolition for 636 students. | 7375623 | 79547000 | A | 27500000 | 0 | 1000000 | 0 | 95% |  | 3319000 | 2371192
Wicomico | 2 | Fruitland Intermediate | Design Services/Construction Funding | HVAC | L22F017 | 2025-11-10 | The request is to replace the 1991 HVAC system. |  | 9997000 | Z | 8917746 | 0 | 0 | 0 | 95% |  | 0 | 0
Wicomico | 3 | Wicomico Middle | Design Services | Replacement | L22F015 | 2025-11-10 | The request is for a replacement school of 142,000 sf including cooperative use space for 930 students. |  | 98729000 | Z | 2250000 | 0 | 0 | 0 | 95% |  | 0 | 0
Wicomico | 4 | Westside Intermediate | Design Services/Construction Funding | HVAC | L22F026 | 2025-10-13 | The request is to replace the 1999 HVAC system. The existing geothermal system will remain; pumps, DOAS units, water cooled RTUs, and hydronic pumps and accessories are to be replaced. |  | 13862000 | Z | 12393700 | 0 | 0 | 0 | 95% |  | 0 | 0
Wicomico | 5 | Salisbury Middle | Design Services/Construction Funding | HVAC | L22F025 | TBD | The request is to replace the 1999 HVAC system. |  | 21664000 | Z | 17651850 | 0 | 0 | 0 | 95% |  | 0 | 0
Wicomico Totals | [7 empty] | 7375623 | 223799000 |  | 68713296 | 0 | 1000000 | 0 |  |  | 3319000 | 2371192
Worcester | 1 | Pocomoke Elementary | Construction Funding | Roof | L23F002 | 2025-01-10 | The request is to replace the 1993 52,512 sf roof. | 2750000 | 3259000 | A | 1495000 | 1710500 | 60000 | 0 | 50% |  | 0 | 1650500
Worcester | 2 | Buckingham Elementary | Construction Funding | Replacement | L23F007 | 2026-11-30 | The request is for a replacement school with 90,837 sf, including cooperative use space, and demolition for 625 students. |  | 71366505 | A | 1867000 | 25756000 | 0 | 5599322 | 60% |  | 1867000 | 0
Worcester | 3 | Ocean City Elementary | Construction Funding | Fire Safety | L23F006 | 2025-07-15 | The request is to replace the 2005 fire alarm system. |  | 294000 | Z | 140000 | 0 | 0 | 0 | 50% |  | 0 | 0
Worcester | 4 | Snow Hill Middle | Construction Funding | HVAC | L23F009 | 2025-07-01 | The request is to install a HVAC system in the gymnasium. |  | 381150 | Z | 181500 | 0 | 0 | 0 | 50% |  | 0 | 0
Worcester | 5 | Ocean City Elementary | Design Services | Lighting | L23F006 | 2026-06-01 | The request is to replace the fluorescent light fixtures. |  | 336000 | Z | 10500 | 0 | 0 | 0 | 50% |  | 0 | 0
Worcester | 6 | Stephen Decatur Middle | Design Services | Lighting | L23F014 | 2026-06-01 | The request is to replace the fluorescent light fixtures. |  | 300160 | Z | 9380 | 0 | 0 | 0 | 50% |  | 0 | 0
Worcester | 7 | Worcester Technical High School | Design Services | Lighting | L23F015 | 2026-06-01 | The request is to replace the fluorescent light fixtures. |  | 486080 | Z | 15190 | 0 | 0 | 0 | 50% |  | 0 | 0
Worcester | 8 | Snow Hill High | Design Services | Lighting | L23F005 | 2026-06-01 | The request is to replace the fluorescent light fixtures. |  | 418880 | Z | 13090 | 0 | 0 | 0 | 50% |  | 0 | 0
Worcester | 9 | Snow Hill Middle | Design Services | Lighting | L23F009 | 2026-06-01 | The request is to replace the fluorescent light fixtures. |  | 395360 | Z | 12355 | 0 | 0 | 0 | 50% |  | 0 | 0
Worcester | 10 | Cedar Chapel Special School | Design Services | Lighting | L23F013 | 2026-06-01 | The request is to replace the fluorescent light fixtures. |  | 67200 | Z | 2100 | 0 | 0 | 69249 | 50% |  | 0 | 0
Worcester | 11 | Pocomoke High | Design Services | Lighting | L23F003 | 2026-06-01 | The request is to replace the fluorescent light fixtures. |  | 374080 | Z | 11690 | 0 | 0 | 0 | 50% |  | 0 | 0
Worcester | 12 | Pocomoke Middle | Design Services | Lighting | L23F011 | 2026-06-01 | The request is to replace the existing fluorescent light fixtures. |  | 211185 | Z | 12635 | 0 | 0 | 0 | 50% |  | 0 | 0
Worcester Totals | [7 empty] | 2750000 | 77889600 |  | 3770440 | 27466500 | 60000 | 5668571 |  |  | 1867000 | 1650500
Statewide Reserve Fund | [7 empty] | 4500000 |  |  |  | 4500000 | 0 | 0 |  |  | 0 | 0
DGS Reserve Consultant Fees | [7 empty] | 500000 |  |  |  | 500000 | 0 | 0 |  |  | 0 | 0
Reserve Fund Toals | [7 empty] | 5000000 |  |  | 0 | 5000000 | 0 | 0 |  |  | 0 | 0
Grand Totals | [7 empty] | 326720710 | 5046363789 |  | 816436862 | 1270787068.5 | 421128552 | 169800608 |  |  | 24852032.1 | 185147968.125
210000000.225
210000000
-0.225
|  | Planning | 21
|  | Design | 138
|  | Construction | 168