## Sheet1
County Name | School Name | Project Type | Description/Justification | LEA Total Construction Cost Estimate | State Cost Share | Requested State Funding | FY 20 Reserved Funds and FY 21 HSFF New Authorization | FY22 HSFF New Authorization | FY 22 HSFF IAC Federal Funding | Approved/Deferred | Revised
Allegany | Beall Elementary School | Lead | Many of the potable water supply sources have tested above 6 ppb. NOTE: Project rescinded 6/8/2023; fixtures replaced to address elevated lead levels using local funds. | $ 825,000.00 | 89% | $ 700,000.00 | $ 700,000.00 | 0 | 0 | Rescinded | 2023-06-08
Anne Arundel | Riviera Beach Elementary | Lack of, unreliable, or insufficient air-conditioning | In kind replacement of existing chillers. The existing chiller has exceeded its useful life expectancy and is difficult to maintain due to their reliance on R22 refrigerant/parts. | $ 300,000.00 | 50% | $ 150,000.00 | 0 | 0 | $ 150,000.00 | Approved
Anne Arundel | Glendale Elementary | Lack of, unreliable, or insufficient air-conditioning | In kind replacement of existing chillers. The existing chiller has exceeded its useful life expectancy and is difficult to maintain due to their reliance on R22 refrigerant/parts. We would like to use FY21 Funds | $ 300,000.00 | 50% | $ 150,000.00 | 0 | 0 | $ 150,000.00 | Approved
Baltimore | Perry Hall High School | Lack of, unreliable, or insufficient air-conditioning | This project includes replacement of chillers (1996) and existing cooling tower (2005) which have outlived their useful life and need replacement. Air conditioning will also be added to the tech wing, the auxiliary athletic spaces, and any other rooms needing air conditioning. The project will include condenser water pumps, condenser water storage tank, dual temperature pumps, chilled water pumps, piping, valves, controls, chemical treatment, insulation and accessories. | $ 3,200,000.00 | 57% | $ 2,006,400.00 | 0 | 0 | 0 | Deferred
Baltimore | Loch Raven High School | Lack of, unreliable, or insufficient air-conditioning | This project is for a chiller (2001) AND boiler (2000) replacement (cooling and heating). These units are difficult to maintain and are in need of replacement. | $ 3,450,000.00 | 57% | $ 2,163,150.00 | 0 | 0 | 0 | Deferred
Baltimore | Essex Elementary | Lack of, unreliable, or insufficient air-conditioning | The existing chiller at Essex elementary (1995) is in need of replacement due to increased maintenance work orders and difficulty in getting parts. | $ 950,000.00 | 57% | $ 595,650.00 | 0 | 0 | $ 595,650.00 | Approved
Baltimore | Martin Boulevard Elementary | Lack of, unreliable, or insufficient air-conditioning | Replacement of chiller (1999). The chillers are unreliable with parts difficult to find. If there was an equipment failure the school would need to shut down until a rental chiller was procured. | $ 950,000.00 | 57% | $ 595,650.00 | 0 | 0 | $ 595,650.00 | Approved
Baltimore | Ridge Ruxton Elementary | Lack of, unreliable, or insufficient air-conditioning | Chiller replacement. Existing chiller was installed in 2000, and are in need of replacement. | $ 950,000.00 | 57% | $ 595,650.00 | 0 | 0 | $ 595,650.00 | Approved
Baltimore | Chesapeake Terrace | Lack of, unreliable, or insufficient air-conditioning | Replacement of chiller (2001), which has outlived useful life and is hard to maintain. | $ 950,000.00 | 57% | $ 595,650.00 | 0 | 0 | $ 595,650.00 | Approved
Baltimore | Pikesville Middle School | Lack of, unreliable, or insufficient air-conditioning | Chiller replacement. The existing chiller was installed in 2008 and has experience maintenance issues. | $ 1,200,000.00 | 57% | $ 752,400.00 | 0 | 0 | $ 752,400.00 | Approved
Baltimore | Logan Elementary School | Lack of, unreliable, or insufficient air-conditioning | Chiller replacement (1986). This equipment has outlived its useful life an cannot be maintained properly. | $ 1,100,000.00 | 57% | $ 689,700.00 | 0 | 0 | $ 689,700.00 | Approved
Baltimore | New Town Elementary | Lack of, unreliable, or insufficient air-conditioning | The chiller (2001) has outlived its useful life and has had maintenance issues. | $ 1,200,000.00 | 57% | $ 752,400.00 | 0 | $ 126,900.00 | $ 684,600.00 | Approved
Baltimore | Battle Monument Elementary School | Lack of, unreliable, or insufficient air-conditioning | Mechanical Systemic renovation. Many issues at school with 2000 chiller, and school fed by neighboring school for heating (pipes are deteriorating). This is a special needs school. | $ 5,406,000.00 | 57% | $ 3,389,562.00 | 0 | 0 | 0 | Approved
Baltimore | Church Lane Elementary School | Roof | The existing roof is becoming a maintenance problem with a history of roof leaks. | $ 2,250,000.00 | 57% | $ 1,339,500.00 | $ 1,339,500.00 | 0 | 0 | Approved
Baltimore | Timber Grove Elementary | Roof | The existing roof is becoming a maintenance problem with a history of roof leaks | $ 1,900,000.00 | 57% | $ 1,191,300.00 | 0 | 0 | 0 | Deferred
Baltimore | Rosedale Center | Roof | The existing roof was installed in 1995, and is in poor condition. | $ 1,750,000.00 | 57% | $ 1,097,250.00 | 0 | 0 | 0 | Deferred
Baltimore | Randallstown High School | Roof | Roof (1996) is in need of replacement in order to control the building envelope. Leaks have occurred. | $ 4,750,000.00 | 57% | $ 2,835,750.00 | 0 | $ 2,835,750.00 | 0 | Approved
Baltimore | Milford Mill Academy | Roof | The roof was installed in 1997, with a portion replaced in 2011. There are major issues with this roof. | $ 6,000,000.00 | 57% | $ 3,619,500.00 | 0 | 0 | 0 | Deferred
Baltimore | Deer Park Middle | Roof | The existing roof was replaced in sections in 1990, 1992, and 2000. The roof should be replaced due to leaks. | $ 6,000,000.00 | 57% | $ 3,690,750.00 | $ 3,690,750.00 | 0 | 0 | Approved
Baltimore | Battle Monument | Roof | Existing roof was installed in 1996 and is in need of replacement | $ 2,000,000.00 | 57% | $ 1,197,000.00 | $ 1,197,000.00 | 0 | 0 | Approved
Baltimore | Charlesmont Elementary | Roof | The existing roof (1996) is in need of replacement. There is a history of leaks. | $ 2,400,000.00 | 57% | $ 1,425,000.00 | 0 | $ 1,425,000.00 | 0 | Approved
Baltimore | Southwest Academy | Roof | Roof replacement of 1996 Roof. | $ 5,000,000.00 | 57% | $ 2,978,250.00 | $ 2,978,250.00 | 0 | 0 | Approved
Baltimore | Chesapeake High School | Temperature regulation | Chiller/cooling tower/air handling unit replacement | $ 8,500,000.00 | 57% | $ 5,329,500.00 | 0 | 0 | 0 | Deferred
Baltimore | Pinewood Elementary | Temperature regulation | This school has major issues with mechanical equipment including controls. Existing equipment was installed in 2004. The roof (2002) is in need of replacement as well. | $ 7,250,000.00 | 57% | $ 4,545,750.00 | $ 2,631,600.00 | $ 1,914,150.00 | 0 | Approved
Baltimore | Milford Mill Academy Boiler | Unreliable or insufficient heating | The boilers at Milford Mill Academy are in need of replacement (1992) They have outlived their life and are hard to maintain. | $ 900,000.00 | 57% | $ 564,300.00 | 0 | $ 564,300.00 | 0 | Approved
Baltimore | Parkville HIgh School | Unreliable or insufficient heating | The boilers at Parkville High School are in need of replacement (1999). They have outlived their life and are hard to maintain. | $ 950,000.00 | 57% | $ 595,650.00 | 0 | 0 | 0 | Deferred
Baltimore City | Morrell Park PK-8 School #220 | Unreliable or insufficient heating | The majority of the HVAC systems in this building are original to the building built in 1977, and has exceeded its normal useful life. The hydronic heating piping system in this building is not reliable and in bad condition. AHU controls are malfunctioning and creating hot or cold spots in some areas. | $ 5,000,000.00 |  | $ 4,800,000.00 | 0 | 0 | $ 5,280,000.00 | Approved
Baltimore City | Morrell Park PK-8 School #220 | Windows | The window and door portion will provide full replacement of all the existing windows and doors in the building. The existing doors, windows and frames are original to the 1977 construction of the school, and are past their useful life. The request is to replace all 1,044 square feet of existing windows with new pre-finished aluminum windows/frames and hardware, and all exterior doors with FRP doors, pre-finished aluminum frames and hardware, all in the existing masonry openings . eplacing the windows will provide a watertight environment for learning as well as increasing the buildings insulation values for thermal comfort. | $ 300,000.00 |  | $ 288,000.00 | $ 316,800.00 | 0 | 0 | Approved
Baltimore City | William Paca Elementary School #83 | Unreliable or insufficient heating | The majority of the HVAC systems in this building are original to the building built in 1975, and has exceeded its normal useful life. These are indications of failure in controls and mechanical components such as defective outdoor intake dampers particularly in AHUs and unit ventilators. | $ 5,300,000.00 |  | $ 5,088,000.00 | $ 5,596,800.00 | 0 | 0 | Approved
Baltimore City | William Paca Elementary School #83 | Windows | The window and door portion will provide full replacement of all the existing windows and doors in the building. The existing doors, windows and frames are original to the 1975 construction of the school, and are past their useful life. The request is to replace all 1,425 square feet of existing windows with new pre-finished aluminum windows/frames and hardware, and all exterior doors with FRP doors, pre-finished aluminum frames and hardware, all in the existing masonry openings . Replacing the windows will provide a watertight environment for learning as well as increasing the buildings insulation values for thermal comfort. | $ 325,000.00 |  | $ 312,000.00 | $ 343,200.00 | 0 | 0 | Approved
Baltimore City | William Paca Elementary School #83 | Roof | The roof portion of this request is to fund the 13,500 sf roof replacement for this building. The roof area does not include the roof of the modular building, which had a replacement in 1996, and an overlay in an overlay installed in 2014. The scope of work will replace the entire built up roof with a new 0.80 TPO roof. Leaks are currently occuring in this roof, compromising the learning environment. The existing roof was last replaced in 1975, is approximately 46 years old and has achieved its life expectancy. | $ 700,000.00 |  | $ 672,000.00 | $ 739,200.00 | 0 | 0 | Approved
Baltimore City | Margaret Brent PK-8 School #53 | Windows | The window and door portion will provide full replacement of all the existing windows and doors in the building. The existing doors, windows and frames are original to the 1979 construction of the school, and are past their useful life. The request is to replace all 1,711 square feet of existing windows with new pre-finished aluminum windows/frames and hardware, and all exterior doors with FRP doors, pre-finished aluminum frames and hardware, all in the existing masonry openings . Replacing the windows will provide a watertight environment for learning as well as increasing the buildings insulation values for thermal comfort. | $ 350,000.00 |  | $ 336,000.00 | $ 369,600.00 | 0 | 0 | Approved
Baltimore City | Lakeland PK-8 School #12 | Roof | The roof portion of this request is to fund the 41,400 sf roof replacement for this building, including the attached modular building. The scope of work will replace the entire built up roof with a new 0.80 TPO roof. Leaks are currently occuring in this roof, compromising the learning environment. The existing roof was last replaced in 1984, is approximately 37 years old and has achieved its life expectancy. | $ 2,100,000.00 |  | $ 2,016,000.00 | $ 2,217,000.00 | 0 | 0 | Approved
Baltimore City | Cecil Elementary School #7 | Unreliable or insufficient heating | This building was renovated in 2000, and the HVAC system was included in that renovation. The HVAC system is now over 20 years old, and has exceeded its normal useful life. | $ 5,500,000.00 |  | $ 5,280,000.00 | 0 | 0 | $ 5,808,000.00 | Approved
Baltimore City | Windsor Hills PK-8 School #87 | Roof | The roof portion of this request is to fund the 18,910 sf roof replacement for this building. The scope of work will replace the entire built up roof with a new 0.80 TPO roof. Leaks are currently occuring in this roof, compromising the learning environment. The existing roof was last replaced in 1991, is approximately 31 years old and has achieved its life expectancy. | $ 975,000.00 |  | $ 936,000.00 | $ 1,029,600.00 | 0 | 0 | Approved
Baltimore City | Hamilton PK-8 School #236 | Roof | The roof portion of this request is to fund the 19,640 sf roof replacement for this building. The scope of work will replace the entire built up roof with a new 0.80 TPO roof. Leaks are currently occuring in this roof, compromising the learning environment. The existing roof was last replaced in 1991, is approximately 31 years old and has achieved its life expectancy. | $ 1,000,000.00 |  | $ 960,000.00 | 0 | $ 1,056,000.00 | 0 | Approved
Baltimore City | Coldstream Park Building #31 | Roof | The roof portion of this request is to fund the 55,670 sf roof replacement for this building. The scope of work will replace the entire built up roof with a new 0.80 TPO roof. Leaks are currently occuring in this roof, compromising the learning environment. The existing roof was last replaced in 1991, is approximately 31 years old and has achieved its life expectancy. This building is currently occupied by Stadium School #15. | $ 2,900,000.00 |  | $ 2,784,000.00 | $ 3,062,400.00 | 0 | 0 | Approved
Baltimore City | Tench Tilghman PK-8 #13 | Roof | The roof portion of this request is to fund the 27,850 sf roof replacement for this building. The scope of work will replace the entire built up roof with a new 0.80 TPO roof. Leaks are currently occuring in this roof, compromising the learning environment. The existing roof was last replaced in 1996, is approximately 25 years old and has achieved its life expectancy. | $ 1,500,000.00 |  | $ 1,440,000.00 | 0 | $ 1,584,000.00 | 0 | Approved
Baltimore City | Morrell Park PK-8 School #220 | Roof | The roof portion of this request is to fund the 42,700 sf roof replacement for this building. The scope of work will replace the entire built up roof with a new 0.80 TPO roof. Leaks are currently occuring in this roof, compromising the learning environment. The existing roof was last replaced in 1994, is approximately 27 years old and has achieved its life expectancy. | $ 2,200,000.00 |  | $ 2,112,000.00 | 0 | $ 2,323,200.00 | 0 | Approved
Baltimore City | Glenmount PK-8 #235 | Roof | The roof portion of this request is to fund the 42,600 sf roof replacement for this building. The scope of work will replace the entire built up roof with a new 0.80 TPO roof. Leaks are currently occuring in this roof, compromising the learning environment. The existing roof was last replaced in 1989, is approximately 32 years old and has achieved its life expectancy. | $ 2,200,000.00 |  | $ 2,112,000.00 | 0 | $ 2,323,200.00 | 0 | Approved
Baltimore City | Dr. Nathan Pitts Ashburton PK-8 #58 | Windows | The window and door portion will provide full replacement of all the existing windows and doors in the building. The existing doors, windows and frames are original to the 1995 construction of the school, and are past their useful life. The request is to replace all 3,110 square feet of existing windows with new pre-finished aluminum windows/frames and hardware, and all exterior doors with FRP doors, pre-finished aluminum frames and hardware, all in the existing masonry openings . Replacing the windows will provide a watertight environment for learning as well as increasing the buildings insulation values for thermal comfort. | $ 500,000.00 |  | $ 480,000.00 | $ 117,000.00 | $ 411,000.00 | 0 | Approved
Baltimore City | Lakeland PK-8 #12 | Windows | The window and door portion will provide full replacement of all the existing windows and doors in the building. The existing doors, windows and frames are original to the 1996 and 2002 construction of the school, and are past their useful life. This includes the modular building on site. The request is to replace all 8,338 square feet of existing windows with new pre-finished aluminum windows/frames and hardware, and all exterior doors with FRP doors, pre-finished aluminum frames and hardware, all in the existing masonry openings . Replacing the windows will provide a watertight environment for learning as well as increasing the buildings insulation values for thermal comfort. | $ 1,250,000.00 |  | $ 1,200,000.00 | $ 1,199,400.00 | $ 120,600.00 | 0 | Approved
Baltimore City | Cecil Elementary #7 | Windows | The window and door portion will provide full replacement of all the existing windows and doors in the building. The existing doors, windows and frames are original to the 2000 renovation of the school, and are past their useful life. The request is to replace all 1,468 square feet of existing windows with new pre-finished aluminum windows/frames and hardware, and all exterior doors with FRP doors, pre-finished aluminum frames and hardware, all in the existing masonry openings . Replacing the windows will provide a watertight environment for learning as well as increasing the buildings insulation values for thermal comfort. | $ 275,000.00 |  | $ 264,000.00 | 0 | $ 290,400.00 | 0 | Approved
Baltimore City | Moravia Elementary Lower Building #105A | Unreliable or insufficient heating | The majority of the HVAC systems in this building have exceeded its normal useful life. The hydronic heating piping system in this building is not reliable and in bad condition. AHU controls are malfunctioning and creating hot or cold spots in some areas. The scope of work will not include the condensing boilers replaced in 2013. | $ 6,800,000.00 |  | $ 6,528,000.00 | 0 | 0 | $ 7,180,800.00 | Approved
Baltimore City | Francis M Wood Building #178 | Unreliable or insufficient heating | The majority of the HVAC systems in this building are original to the building built in 1978, and has exceeded its normal useful life. The hydronic heating piping system in this building is not reliable and in bad condition. Controls are malfunctioning and hot or cold spots are being created throughout the school. This building is home to the Vivien T Thomas Medical Arts High School #429. | $ 5,900,000.00 |  | $ 5,664,000.00 | 0 | $ 4,499,200.00 | $ 1,731,200.00 | Approved
Baltimore City | Lakeland PK-8 #12 | Unreliable or insufficient heating | The majority of the HVAC systems in this building were installed in 2002, when the building was renovated and added on to, and has exceeded its normal useful life. The hydronic heating piping system in this building is not reliable and in bad condition. Controls are malfunctioning and hot or cold spots are being created throughout the school. | $ 7,500,000.00 |  | $ 7,920,000.00 | 0 | 0 | 0 | Deferred
Baltimore City | Wolfe St. Academy | Roof | The roof portion of this request is to fund the 11,450 sf roof replacement for this building. The scope of work will replace the entire built up roof with a new 0.80 TPO roof. Leaks are currently occuring in this roof, compromising the learning environment. The existing roof was last replaced in 2000, is approximately 21 years old and has achieved its life expectancy. | $ 575,000.00 |  | $ 552,000.00 |  | $ 552,000.00
Baltimore City | Wolfe St. Academy | Unreliable or insufficient heating | The majority of the HVAC systems in this building were installed in 1976 when the building was constructed, with some rooftop units replaced in 2002. The majority of the HVAC equipment has exceeded its normal useful life. Controls are malfunctioning and hot or cold spots are being created throughout the school. | $ 1,700,000.00 |  | $ 1,632,000.00 |  | $ 1,632,000.00
Calvert | Career Technology Academy | Roof | The B.U.R. system over the original portion of the building dates back to 1970 and is well beyond its useful life. The existing roof had a 20 year NDL warranty. There are numerous, recurring leaks, the insulation does not meet the current State requirement of R30, and the existing roof slope and locations of roof drains do not allow for water to drain properly, exacerbating the breakdown and alligatoring of the membrane. | $ 1,440,000.00 | 53% | $ 808,250.00 | $ 89,034.00 | $ 719,211.00 | 0 | Approved
Calvert | Sunderland Elementary School | Lack of, unreliable, or insufficient air-conditioning | The 149 Ton chiller, associated condenser, and 40 Ton DX Roof Top unit #1, serving a 10 classroom addition to the building, are seeing multiple failures. The chiller has experienced multiple compressor failures, including one that is currently causing the unit to cool at partial capacity. The Roof Top unit has developed problems over the last few years including the following: several bad condenser fan motors, failed compressors, failed VFD drive, failed blower motor, and control wiring issues. | $ 515,000.00 | 53% | $ 272,950.00 | 0 | 0 | $ 299,450.00 | Approved
Carroll | Spring Garden Elementary | Lack of, unreliable, or insufficient air-conditioning | The project involves the replacement of the existing rooftop units and terminal control units. The existing pneumatic control system shall be replaced and upgraded to be electric/electronic actuation, direct digitally controlled and interlocked to the County Energy Management System. Although the electric service is not anticipated to require an upgrade to accommodate the HVAC renovation, some of the aging electrical equipment does need replacing. New panelboards, sized as required for the new equipment, are recommended. The current equipment was installed when the school was constructed in 1991. This equipment is 30 years old and well past the industry standard for estimated useful life. | $ 6,335,000.00 | 59% | $ 3,160,000.00 | 0 | 0 | $ 3,160,000.00 | Approved
Carroll | South Carroll High | Windows | This project involves the replacement of the window wall system that was utilized during the original construction of the school. Replacement of the single-pane windows and metal wall panels is necessary to improve the exterior envelope which will improve energy efficiency and indoor air quality. | $ 2,300,000.00 | 59% | $ 1,357,000.00 | 0 | 0 | 0 | Deferred
Carroll | Westminster High | Windows | This project involves the replacement of the single pane windows used during the original construction of the school. Replacement of the single pane windows is necessary to improve the exterior envelope which will improve the energy efficiency and indoor air quality. | $ 1,000,000.00 | 59% | $ 590,000.00 | $ 590,000.00 | 0 | 0 | Approved
Charles | John Hanson Middle School | Roof | Roof has exceeded its life expectancy (1995). | $ 3,781,000.00 | 65% | $ 2,458,000.00 | $ 2,457,650.00 | 0 | 0 | Approved
Charles | Matthew Henson Middle School | Lack of, unreliable, or insufficient air-conditioning | The air handler that serves the interior core spaces of the building dates back to 1982 and has exceeded its life expectancy. The challenges of ensuring this equipment is operating efficiently and effectively along with the challenges of locating replacement repair parts make this a priority project. | $ 500,000.00 | 65% | $ 325,000.00 | 0 | 0 | $ 325,000.00 | Approved
Charles | Indian Head Elementary School | Temperature regulation | Indian Head Elementary is a Title I school with 64% free and reduced meals student population. It is an open space enclosure design with partition walls currently acting as classroom dividers. The classrooms are not clearly separated to allow for air infiltration through the entire space as the upper three feet of finished space is open to the entire area contributed to unregulated temperature fluctuation in classes. | $ 7,200,000.00 | 65% | $ 4,725,000.00 | 0 | 0 | 0 | Deferred
Charles | Dr. James Craik Elementary School | Temperature regulation | It is an open space enclosure design with partition walls currently acting as classroom dividers. The classrooms are not clearly separated to allow for air infiltration through the entire space as the upper three feet of finished space is open to the entire area contributed to unregulated temperature fluctuation in classes. | $ 7,200,000.00 | 65% | $ 4,680,000.00 | 0 | 0 | 0 | Deferred
Dorchester | Choptank Elementary School | Roof/HVAC | Replace the original (1997) flat roof system, flashings, roof metal and all roof accessories. Replace all of the roof top equipment (1997), with more modern and efficient equivalent energy recovery units. This equipment includes 3-460V Energy Recovery Units, 3 460V Rooftop Watersource Geothermal Heat Pump units, split system compressors and multiple exhaust fans. | $ 4,289,000.00 | 82% | $ 3,516,980.00 | 0 | $ 1,630,980.00 | $ 1,886,000.00 | Approved
Dorchester | Maple Elementary School | Roof | Replace the CY1998 Built Up roof system with a modern equivalent. Replace all roof accessories, flashings, downspouts, roof metal, etc. Replace roof insulation and deck as needed. | $ 2,248,000.00 | 82% | $ 1,843,360.00 | $ 1,843,360.00 | 0 | 0 | Approved
Frederick | Thurmont Elementary School | Roof | Roof section J, and G (shown in the attached assessment report) are in very poor condition. Roof section J leaks every time there is a rain, requiring immediate clean up, and introduces potential for mold in to the school building, and can cause school closure. Section G is in very poor condition, and have the potential to leak anytime and can cause disruption. NOTE: Rescinded 6/8/2023; Addressed as part of FY 2023 and FY 2024 CIP limited renovation. | $ 455,000.00 | 64% | $ 291,000.00 | $ 291,000.00 | 0 | 0 | Rescinded | 2023-06-08
Garrett | Accident Elementary School | Roof | Replacement of existing built up roof system. Roof was replaced in 2003 and is we have been experiencing multiple roof leaks over the past few years. | $ 2,000,000.00 | 50% | $ 1,780,000.00 | 0 | 0 | 0 | Deferred
Garrett | Northern Garrett High School | Lack of, unreliable, or insufficient air-conditioning | Northern Garrett High School currently does not have any air conditioning in the majority of the building. The areas that have AC are a few computer labs, main office and guidance office. Classroom temperatures, during the summer months can reach 85-90 degrees. This can adversely affect the delivery of educational programs and services. | $ 6,000,000.00 | 50% | $ 5,340,000.00 | $ 259,754.00 | $ 109,964.00 | $ 4,973,617.00 | Approved
Garrett | Yough Glades Elementary School | Lack of, unreliable, or insufficient air-conditioning | Yough Glades ES was constructed in 1998. The HVAC system was installed without air conditioning. Classroom temperatures range between 75-85 plus degrees between May-October pending outside air temperatures. | $ 3,000,000.00 | 50% | $ 2,670,000.00 | 0 | 0 | $ 2,803,500.00 | Approved
Harford | Aberdeen HS | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | $ 6,021.00 | 63% | $ 3,793.00 | $ 3,793.00 | 0 | 0 | Approved | 3/9/2023
Harford | Aberdeen MS | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | $ 5,325.00 | 63% | $ 3,355.00 | $ 3,355.00 | 0 | 0 | Approved | 3/9/2023
Harford | Abingdon ES | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | $ 6,964.00 | 63% | $ 4,387.00 | $ 4,387.00 | 0 | 0 | Approved | 3/9/2023
Harford | Bakerfield ES | Roof | Bakerfield Elementary School’s roof is a mix of flat built-up roofing (BUR) installed in 1983 and 1994, sloped BUR installed in 1999 and standing seam metal installed in 1999. The BUR portion needs replacement as leaks and maintenance concerns have increasingly become an issue. Most of the drains have been re-flashed at least once. Some of them have required a second reworking. Because there is no taper built into most of the roof, water ponds on it degrading the original felts as well as the repairs. The weakening or “rot” of the roof typically begins at the drains, as those areas tend to take the longest time to dry out. Over time, it will progress to the rest of the roof. While the metal roof is in fair condition, it should be painted or coated to stop the progression of rust that has started. | $ 1,997,000.00 | 63% | $ 1,242,000.00 | 0 | $ 1,241,730.00 | 0 | Approved
Harford | Bel Air ES | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | $ 6,964.00 | 63% | $ 4,387.00 | $ 4,387.00 | 0 | 0 | Approved | 3/9/2023
Harford | Bel Air HS | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | $ 6,371.00 | 63% | $ 4,014.00 | $ 4,014.00 | 0 | 0 | Approved | 3/9/2023
Harford | Bel Air MS | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | $ 2,540.00 | 63% | $ 1,600.00 | $ 1,600.00 | 0 | 0 | Approved
Harford | C. Milton Wright HS | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | $ 5,495.00 | 63% | $ 3,462.00 | $ 3,462.00 | 0 | 0 | Approved | 3/9/2023
Harford | Church Creek ES | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | $ 2,540.00 | 63% | $ 1,600.00 | $ 1,600.00 | 0 | 0 | Approved | 3/9/2023
Harford | Darlington ES | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | $ 2,540.00 | 63% | $ 1,600.00 | $ 1,600.00 | 0 | 0 | Approved | 3/9/2023
Harford | Edgewood HS | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | $ 7,482.00 | 63% | $ 4,714.00 | $ 4,714.00 | 0 | 0 | Approved | 3/9/2023
Harford | Edgewood MS | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | $ 7,241.00 | 63% | $ 4,562.00 | $ 4,562.00 | 0 | 0 | Approved | 3/9/2023
Harford | George D. Lisby ES | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | $ 6,964.00 | 63% | $ 4,387.00 | $ 4,387.00 | 0 | 0 | Approved | 3/9/2023
Harford | Halls Cross Roads ES | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | $ 3,181.00 | 63% | $ 2,004.00 | $ 2,004.00 | 0 | 0 | Approved | 3/9/2023
Harford | Havre de Grace ES | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | $ 4,037.00 | 63% | $ 2,543.00 | $ 2,543.00 | 0 | 0 | Approved | 3/9/2023
Harford | Homestead/Wakefield ES | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | 0 | 63% | 0 | 0 | 0 | 0 | Cancelled | 3/9/2023
Harford | Magnolia MS | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | $ 4,037.00 | 63% | $ 2,543.00 | $ 2,543.00 | 0 | 0 | Approved | 3/9/2023
Harford | Patterson Mill Middle/High | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | $ 1,079.00 | 63% | $ 680.00 | $ 680.00 | 0 | 0 | Approved | 3/9/2023
Harford | Riverside ES | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | $ 9,285.00 | 63% | $ 5,850.00 | $ 5,850.00 | 0 | 0 | Approved | 3/9/2023
Harford | Roye-Williams ES | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | $ 2,766.00 | 63% | $ 1,743.00 | $ 1,743.00 | 0 | 0 | Approved | 3/9/2023
Harford | Southampton MS | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | $ 23,000.00 | 63% | $ 14,490.00 | $ 14,490.00 | 0 | 0 | Approved | 3/9/2023
Harford | Swan Creek School | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | $ 14,787.00 | 63% | $ 9,316.00 | $ 9,316.00 | 0 | 0 | Approved | 3/9/2023
Harford | Swan Creek School | Lack of, unreliable, or insufficient air-conditioning | In 2016, HCPS added AC to the Swan Creek School (previously CEO) in an initiative to add AC to all our buildings. However, at that time, only a portion of the building was used for educational purposes and therefore eligible for State funding. Since then, the use of the facility has increased to areas needing HVAC upgrades including the annex building, cafeteria, and virtual teaching spaces. Additionally, the school has experienced problems with humidity control and aged failing boilers that were not replaced when the AC was added. The boilers date back to the original construction and are 50+ years old, the burners are newer and were possible replaced some 25-30 years ago as part of a burner replacement project. The two existing boilers due to their current age, inefficiency and size should be replaces. A hybrid/condensing boiler replacement scenario is recommended for the current set up. | $ 2,081,000.00 | 63% | $ 1,442,133.00 | 0 | 0 | $ 1,442,133.00 | Approved
Harford | William S. James ES | Lead | In 2017, Maryland passed legislation to establish testing and standards for lead in school drinking water. The limit was set at 20 parts per billion (ppb). In 2021, legislation was passed to alter the definition of elevated levels of lead to be 5ppb requiring the periodic testing for the presence of lead in drinking water outlets not labeled as non-consumptive fixtures “Handwash Only Signs” for any fixture in occupied public and nonpublic school buildings. This requires a school to currently take remedial measures on a consumptive water outlet tested on or before June 1, 2021, if the test indicated a concentration of lead that was more than 5ppb. HCPS has identified potable water sources with lead levels falling between 5 ppb and 20 ppb after reviewing prior sampling. This project is an effort to remediate the areas of concern by replacing the fixtures and resampling to determine if the fixture corrects the issue. | $ 5,000.00 | 63% | $ 3,150.00 | 0 | 0 | 0 | Deferred
Howard | Gorman Crossing Elementary School | Roof | The existing asphalt built-up system with gravel surface and associated components have reached the end of their serviceable life. | $ 2,945,325.00 | 55% | $ 1,685,929.00 | 0 | 0 | 0 | Deferred
Howard | Triadelphia Ridge Elementary School | Roof | The existing asphalt built-up system with gravel surface and associated components have reached the end of their serviceable life. | $ 3,147,824.00 | 55% | $ 1,797,303.00 | 0 | $ 1,731,303.00 | 0 | Approved
Howard | Bonnie Branch Middle School | Indoor air quality, including remediation of indoor pollutants | The existing HVAC unit create elevated indoor air relative humidity and the potential for the development of humidity mold when the cooling load of the relocatable classroom is low and the moisture content of the outdoor air is high. | $ 25,000.00 | 55% | $ 15,125.00 | $ 15,125.00 | 0 | 0 | Approved
Howard | Clemens Crossing Elementary School | Indoor air quality, including remediation of indoor pollutants | The existing HVAC unit creates elevated indoor air relative humidity and the potential for the development of humidity mold when the cooling load of the relocatable classroom is low and the moisture content of the outdoor air is high. | $ 25,000.00 | 55% | $ 15,125.00 | $ 15,125.00 | 0 | 0 | Approved
Howard | Cradlerock ES/Lake Elkhorn MS | Indoor air quality, including remediation of indoor pollutants | The existing HVAC unit creates elevated indoor air relative humidity and the potential for the development of humidity mold when the cooling load of the relocatable classroom is low and the moisture content of the outdoor air is high. | $ 25,000.00 | 55% | $ 15,125.00 | $ 15,125.00 | 0 | 0 | Approved
Howard | Hammond Elementary School | Indoor air quality, including remediation of indoor pollutants | The existing HVAC units create elevated indoor air relative humidity and the potential for the development of humidity mold when the cooling load of the relocatable classroom is low and the moisture content of the outdoor air is high. | $ 25,000.00 | 55% | $ 15,125.00 | $ 15,125.00 | 0 | 0 | Approved
Howard | Ilchester Elementary | Indoor air quality, including remediation of indoor pollutants | The existing HVAC units create elevated indoor air relative humidity and the potential for the development of humidity mold when the cooling load of the relocatable classroom is low and the moisture content of the outdoor air is high. | $ 25,000.00 | 55% | $ 15,125.00 | $ 15,125.00 | 0 | 0 | Approved
Howard | Manor Woods Elementary | Indoor air quality, including remediation of indoor pollutants | The existing HVAC units create elevated indoor air relative humidity and the potential for the development of humidity mold when the cooling load of the relocatable classroom is low and the moisture content of the outdoor air is high. | $ 75,000.00 | 55% | $ 45,375.00 | $ 45,375.00 | 0 | 0 | Approved
Howard | Mt. Hebron High | Indoor air quality, including remediation of indoor pollutants | The existing HVAC units create elevated indoor air relative humidity and the potential for the development of humidity mold when the cooling load of the relocatable classroom is low and the moisture content of the outdoor air is high. | $ 25,000.00 | 55% | $ 15,125.00 | $ 15,125.00 | 0 | 0 | Approved
Howard | Reservoir High | Indoor air quality, including remediation of indoor pollutants | The existing HVAC units create elevated indoor air relative humidity and the potential for the development of humidity mold when the cooling load of the relocatable classroom is low and the moisture content of the outdoor air is high. | $ 75,000.00 | 55% | $ 45,375.00 | $ 45,375.00 | 0 | 0 | Approved
MD School for the Blind | The Maryland School for the Blind | Roof | Knefely Gymnasium is a 27,957 square foot building used for the physical and recreational education of blind and multi disabled students. It has a multi-level flat roofing system consisting of 11 adjoining but separated roofs. 9 of these roofs have no RUL left as supported by AEI’s FCA (facility condition assessment) completed during June of 2020. A second FCA performed in May of 2021 by the IAC (Bureau Veritas) rated the RUL to be 1 year with an EUL life of 20 years. A roof survey was completed on 1/22/21. Core samples revealed that 8 of the 9 roofs consisted of two roofing system layers and all 8 core samples were wet and some even had ice beneath the EPDM. The multiple roofing layers required tear off and replacement. Over the last year we have been experiencing rain leaks on hard rains, as many as 7-10 at a time, and has been a challenge preventing moisture build-up and the growth of mold, damage to our floors not counting the suspected damage occurring to the roof decking and supporting structure. During that time we have had a combination of outside contractor and in-house facilities staff make repairs to avoid leaks and interior damage. The remaining two adjoining roofs that are not in need of replacement are 6 years old and have a 14 year RUL. This request comes post roof replacement with supporting documentation as requested in the HSFF procedures guide. Substantial completion date was August 25, 2021. NOTE: Rescinded 6/8/2023; project completed without MBE participation. | $ 307,694.00 |  | $ 286,155.00 | 0 | $ 286,155.00 | 0 | Rescinded | 2023-06-09
Montgomery | Whetstone ES | Indoor air quality, including remediation of indoor pollutants | Mold remediation of exterior walls that have the potential to penetrate into the building. The mold issues were identified on state inspection 2018. | $ 55,630.00 | 50% | $ 25,000.00 | $ 25,000.00 | 0 | 0 | Approved | 3/9/2023
Montgomery | Resnik ES | Indoor air quality, including remediation of indoor pollutants | Water and moisture infiltration through exterior walls casing mold. | $ 72,030.00 | 50% | $ 33,450.00 | $ 33,450.00 | 0 | 0 | Approved | 3/9/2023
Montgomery | Poolesville ES | Indoor air quality, including remediation of indoor pollutants | Remediate molded exterior walls that were identified by the state inspector. | $ 23,773.00 | 50% | $ 11,900.00 | $ 11,900.00 | 0 | 0 | Approved | 3/9/2023
Montgomery | Rocky Hill MS | Indoor air quality, including remediation of indoor pollutants | Repair walls that were damaged by leaks as identified by the State inspector | $ 33,198.00 | 50% | $ 12,500.00 | $ 12,500.00 | 0 | 0 | Approved | 3/9/2023
Montgomery | Montgomery Blair | Windows | Replacement of windows with broken seals. | $ 82,243.00 | 50% | $ 41,150.00 | $ 41,150.00 | 0 | 0 | Approved | 3/9/2023
Prince George's | Greenbelt ES | Roof | Roof Replacement: approximately 51,237 SF of built-up roofing installed during 1993 reconstruction of the school. Standing Seam metal to remain with some minor repairs and replacement and addition of snow guards. Replace all drains, steel gutters, downspouts, drain pipe connections, liquid flashing system, base flashings, overflow scupper sleeves, perimeter metal, parapet coping, metal counter flashing, parapet caps, power roof ventilator and gravity vent curbs, roof hatches and safety posts, snow guards, etc. Add roof insulation, additional steel ladder, and bird netting. Modify existing steel ladder per OSHA. Re-insulate rooftop duct work and replace as needed. Replace steel expansion joint covers, etc. as needed. | $ 1,922,524.00 | 70% | $ 1,345,767.00 | 0 | $ 1,345,767.00 | 0 | Approved
Prince George's | Cooper Lane Elementary School | Lead | Remediate lead in the plumbing pipes in the classroom and teachers' lounge sinks and the water fountains and remediate mold in vanity cabinets. | $ 99,900.00 | 70% | $ 69,930.00 | 0 | $ 69,930.00 | 0 | Approved
Prince George's | Fort Foote ES | Lead | Remediate lead in the plumbing pipes in the classroom and teachers' lounge sinks and the water fountains and remediate mold in vanity cabinets. | $ 99,900.00 | 70% | $ 69,930.00 | 0 | $ 69,930.00 | 0 | Approved
Prince George's | Ridgecrest ES | Lead | Remediate lead in the plumbing pipes in the classroom and teachers' lounge sinks and the water fountains and remediate mold in vanity cabinets. | $ 99,900.00 | 70% | $ 69,930.00 | 0 | $ 69,930.00 | 0 | Approved
Queen Anne's | Kent Island High School | Indoor air quality, including remediation of indoor pollutants | Replacement of (3) existing make up air units that are 24 years old. | $ 90,000.00 | 51% | $ 45,900.00 | $ 45,000.00 | 0 | 0 | Approved
Washington | Pleasant Valley Elementary School | Plumbing, including pipe insulation to reduce condensation in order to prevent mold | This project is intended to replace the existing galvanized domestic waterline at Pleasant Valley Elementary School, which are scaling and eroding, with new copper pipe. The domestic water lines are original to the school (built 1960), and were not replaced during the 1991 renovation. This erosion of the interior of the galvanized pipe causes discoloration of the water, and there is occasional discharge of sediment after the system is at rest over a weekend. The project will also replace domestic water pumps used to pressurize the system, and branch line valves. The water main is primarily located above lay-in/grid ceilings, however for locations where it is concealed behind drywall or other hard surfaces, the Contractor will be required to cut and patch as necessary to complete the replacement. | $ 55,000.00 | 79% | $ 43,000.00 | $ 43,000.00 | 0 | 0 | Approved
Washington | North Hagerstown High School | Temperature regulation | This project is requested to replace the aging pneumatic automatic temperature control system at North Hagerstown High School. The current control system is original to the modernization of the school in 1990, when direct digital control systems were considered “cutting edge” and not widely used. The current system is difficult to maintain (scarcity of spare parts) and requires constant recalibration to ensure a safe and healthy learning environment is maintained. In recent years, failure of the control system has created conditions that allowed mold to grown in several classrooms, necessitating costly mitigation and refurbishing of these rooms. The installation will include humidity and carbon dioxide sensors and controls that do not currently exist at the school. The replacement system will improve daily operations, allow remote monitoring, and ensure a more consistent and healthy environment for students and staff. | $ 500,000.00 | 79% | $ 395,000.00 | $ 395,000.00 | 0 | 0 | Approved
Washington | Eastern Elementary School | Temperature regulation | This project is requested to replace the aging pneumatic automatic temperature control system at Eastern Elementary School. The current control system is original to the modernization of the school in 1992, when direct digital control systems were considered “cutting edge” and not widely used. The current system is difficult to maintain (scarcity of spare parts) and requires constant recalibration to ensure a safe and healthy learning environment is maintained. The installation will include humidity and carbon dioxide sensors and controls that do not currently exist at the school. The replacement system will improve daily operations, allow remote monitoring, and ensure a more consistent and healthy environment for students and staff. | $ 200,000.00 | 79% | $ 158,000.00 | $ 158,000.00 | 0 | 0 | Approved
Wicomico | Wicomico High School | Lead | Lead in the drinking water. | $ 29,000.00 | 100% | $ 29,000.00 | $ 29,000.00 | 0 | 0 | Approved
Wicomico | Pittsville Elementary/Middle School | Lead | Lead in the drinking water | $ 12,100.00 | 100% | $ 12,100.00 | $ 12,100.00 | 0 | 0 | Approved
Wicomico | Willards Elementary School | Lead | Lead in the drinking water | $ 7,000.00 | 100% | $ 7,000.00 | $ 7,000.00 | 0 | 0 | Approved
Wicomico | Pinehurst Elementary School | Lack of, unreliable, or insufficient air-conditioning | Aged unit. Bards exterior hung unit to outside wall. Units to have modular outside air damper for fresh air. | $ 63,000.00 | 100% | $ 63,000.00 | 0 | 0 | $ 63,000.00 | Approved
Wicomico | East Salisbury Elementary | Lack of, unreliable, or insufficient air-conditioning | Aged unit. Bards exterior hung unit to outside wall. Units to have modular outside air damper for fresh air. | $ 63,000.00 | 100% | $ 63,000.00 | 0 | 0 | $ 63,000.00 | Approved
Wicomico | North Salisbury Elementary | Lack of, unreliable, or insufficient air-conditioning | Aged unit. Bards exterior hung unit to outside wall. Units to have modular outside air damper for fresh air. | $ 16,000.00 | 100% | $ 16,000.00 | 0 | 0 | $ 16,000.00 | Approved
Wicomico | Wicomico Middle School | Lack of, unreliable, or insufficient air-conditioning | Aged unit. Bards exterior hung unit to outside wall. Units to have modular outside air damper for fresh air. | $ 32,000.00 | 100% | $ 32,000.00 | 0 | 0 | $ 32,000.00 | Approved
Wicomico | Fruitland Intermediate | Lack of, unreliable, or insufficient air-conditioning | Aged unit. Bards exterior hung unit to outside wall. Units to have modular outside air damper for fresh air. | $ 32,000.00 | 100% | $ 32,000.00 | 0 | 0 | $ 32,000.00 | Approved
Wicomico | Mardela Middle and High School | Lack of, unreliable, or insufficient air-conditioning | Aged unit. Bards exterior hung unit to outside wall. Units to have modular outside air damper for fresh air. | $ 63,000.00 | 100% | $ 63,000.00 | 0 | 0 | $ 63,000.00 | Approved
Wicomico | Pittsville Elementary/Middle School | Lack of, unreliable, or insufficient air-conditioning | Aged unit. Bards exterior hung unit to outside wall. Units to have modular outside air damper for fresh air. | $ 32,000.00 | 100% | $ 32,000.00 | 0 | 0 | $ 32,000.00 | Approved
Wicomico | Westside Primary School | Lack of, unreliable, or insufficient air-conditioning | Aged unit. Bards exterior hung unit to outside wall. Units to have modular outside air damper for fresh air. | $ 94,000.00 | 100% | $ 94,000.00 | $ 94,000.00 | 0 | 0 | Approved
Wicomico | Pittsville Elementary/Middle | Roof | Roof restoration to extend remaining useful life expectancy. | $ 831,000.00 | 100% | $ 884,000.00 | $ 884,000.00 | 0 | 0 | Approved
Wicomico | Delmar Elementary | Roof | Roof restoration to extend remaining useful life expectancy. | $ 807,000.00 | 100% | $ 859,000.00 | 0 | $ 859,000.00 | 0 | Approved